## Availability (April2016)
Summary of System/Circuit outages (April2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1604080036-1 | Kinshasa | System | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1604010055-1 | Lilongwe/Beira | ATS/DS | 2016-01-04 14:39 | 2016-01-04 16:41 | 99.72% | External - Two wires at the krone block were broken off - restored
1604010063-1 | Gaborone/Jhb | ATS/DS | 2016-01-04 19:16 | 2016-01-04 19:57 | 100% | Fault was restored upon investigation
1604060023-1 | Harare/Jhb | AFTN | 2016-06-04 13:46 | 2016-06-04 14:02 | 99.95% | External - VCCS in Harare - Albini
1604240012-1 | Gaborone/Jhb | ATS/DS | 24/04/2016 11:18 | 24/04/2016 12:30 | 100% | Fault was restored upon investigation
1604270015-1 | Kinshasa | ATS/DS | 27/04/2016 14:10 | 27/04/2016 14:15 | 99.85% | External - VCCS in Kinshasa - Mr. Darabu restored
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1604080036-1 | Kinshasa/Brazzaville | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Bujumbura | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Kigali | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Entebbe | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Khartoum | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Dar Es Salaam | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Lusaka | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Luanda | ATS/DS | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Jhb | AFTN | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604080036-1 | Kinshasa/Brazzaville | AFTN | 2016-08-04 16:35 | 2016-08-04 17:34 | 99.85% | Preventative maintenance
1604010055-1 | Lilongwe/Beira | ATS/DS | 2016-01-04 14:39 | 2016-01-04 16:41 | 99.72% | External - Two wires at the krone block were broken off - restored
1604060023-1 | Harare/Jhb | AFTN | 2016-06-04 13:46 | 2016-06-04 14:02 | 99.95% | External - VCCS in Harare - Albini
1604270015-1 | Kinshasa | ATS/DS | 27/04/2016 14:10 | 27/04/2016 14:15 | 99.85% | External - VCCS in Kinshasa - Mr. Darabu restored