## Availability (April2017)
Summary of System/Circuit outages (April2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1704150023-1 | Beira | System | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704010007-1 | Antananarivo | System | 01/04/2017 08:12 | 01/04/2017 08:30 | 99.85% | Reset IDU
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1704030174-1 | Kigali/Jhb | AFTN | 03/04/2017 17:52 | 03/04/2017 20:24 | 99.65% | External cable - restored
1704070020-1 | Kinshasa/Jhb | AFTN | 07/04/2017 09:16 | 07/04/2017 09:18 | 99.85% | External cable - restored
1704100028-1 | Beira/Harare | ATS/DS | 10/04/2017 08:15 | 10/04/2017 08:15 | 99.85% | Reset MUX in Beira
1704140018-1 | Kinshasa/Jhb | AFTN | 14/04/2017 18:25 | 14/04/2017 18:30 | 99.85% | see previous fault
1704180043-1 | kinshasa/Lusaka | ATS/DS | 11/04/2017 12:51 | 11/04/2017 12:53 | 98.5% | Replaced Quad FXS card
1704250036-1 | Beira/Lilongwe | ATS/DS | 25/04/2017 11:51 | 25/04/2017 13:38 | 99.85% | Reset the line - Restored
1704270014-1 | Gaborone/Harare | ATS/DS | 27/04/207 10:03 | 27/04/2017 10:08 | 99.85% | Reset FAD in Harare
1704300008-1 | Antana/dar Es Salaam | ATS/DS | 30/04/2017 11:14 | 30/04/2017 11:25 | 99.95% | Quad FXS card in Antana faulty - moved services to old network
1704300006-1 | Antana/Beira | ATS/DS | 30/04/2017 07:26 | 30/04/2017 07:30 | 99.95% | Quad FXS card in Antana faulty - moved services to old network
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1704150023-1 | Beira/Antana | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | Beira/Jhb | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | Beira/Lilongwe | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | Beira/Harare | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | Beira/Lusaka | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | BeiraDar Es Salaam | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | Beira/Maputo | ATS/DS | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704150023-1 | Beira/Jhb | AFTN | 15/04/2017 20:27 | 15/04/2017 10:20 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1704010007-1 | Antananarivo/Beira | ATS/DS | 01/04/2017 08:12 | 01/04/2017 08:30 | 99.85% | Reset IDU
1704010007-1 | Antananarivo/Dar Es Salaam | ATS/DS | 01/04/2017 08:12 | 01/04/2017 08:30 | 99.85% | Reset IDU
1704010007-1 | Antananarivo/Jhb | ATS/DS | 01/04/2017 08:12 | 01/04/2017 08:30 | 99.85% | Reset IDU
1704010007-1 | Antananarivo/Victoria | ATS/DS | 01/04/2017 08:12 | 01/04/2017 08:30 | 99.85% | Reset IDU
1704010007-1 | Antananarivo/Jhb | AFTN | 01/04/2017 08:12 | 01/04/2017 08:30 | 99.85% | Reset IDU
1704030174-1 | Kigali/Jhb | AFTN | 03/04/2017 17:52 | 03/04/2017 20:24 | 99.65% | External cable - restored
1704070020-1 | Kinshasa/Jhb | AFTN | 07/04/2017 09:16 | 07/04/2017 09:18 | 99.85% | External cable - restored
1704100028-1 | Beira/Harare | ATS/DS | 10/04/2017 08:15 | 10/04/2017 08:15 | 99.85% | Reset MUX in Beira
1704140018-1 | Kinshasa/Jhb | AFTN | 14/04/2017 18:25 | 14/04/2017 18:30 | 99.85% | see previous fault
1704180043-1 | kinshasa/Lusaka | ATS/DS | 11/04/2017 12:51 | 11/04/2017 12:53 | 98.5% | Replaced Quad FXS card
1704250036-1 | Beira/Lilongwe | ATS/DS | 25/04/2017 11:51 | 25/04/2017 13:38 | 99.85% | Reset the line - Restored
1704270014-1 | Gaborone/Harare | ATS/DS | 27/04/207 10:03 | 27/04/2017 10:08 | 99.85% | Reset FAD in Harare
1704300008-1 | Antana/dar Es Salaam | ATS/DS | 30/04/2017 11:14 | 30/04/2017 11:25 | 99.95% | Quad FXS card in Antana faulty - moved services to old network
1704300006-1 | Antana/Beira | ATS/DS | 30/04/2017 07:26 | 30/04/2017 07:30 | 99.95% | Quad FXS card in Antana faulty - moved services to old network