## Availability (Aug2016)
Summary of System/Circuit outages (Aug2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1608220059-1 | Maseru | Upgrade | 22/08/2016 18:26 | 22/08/2016 18:38 | 100% | Preventative and Upgrade in progress
1608220061-1 | Windhoek | Upgrade | 22/08/2016 18:31 | 22/08/2016 18:33 | 100% | Preventative and Upgrade in progress
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1608190044-1 | Maseru | RFT2 | 19/08/2016 15:40 | 19/09/2016 15:46 | 100% | Changed RF chains, noeffect on service
1608040013-1 | Dar Es Salaam | ATS/DS | 2016-04-08 08:32 | 2016-04-08 08:41 | 99.85% | Voice intermittant - Reset Idu and MUX
1608040023-1 | Gaborone | FPS | 2016-04-08 16:40 | 2016-04-08 16:42 | 100% | Repalced FPS - no effect on system
1608060020-1 | Harare/Lusaka | ATS/DS | 2016-06-08 15:38 | 2016-08-08 14:45 | 98.5% | External - VCCS in Lusaka problamatic - local technical staff restored
1608070008-1 | Luanda/Lusaka | ATS/DS | 2016-07-08 15:08 | 2016-07-08 15:15 | 99.85% | External - VCCS in Lusaka problamatic - local technical staff restored
1608070008-2 | Harare/Lusaka | ATS/DS | 2016-07-08 15:08 | 2016-07-08 15:08 | 99.85% | External - VCCS in Lusaka problamatic - local technical staff restored - see previous fault
1608100045-1 | Jhb/Windhoek | ATS/DS | 2016-10-08 18:31 | 2016-11-08 18:57 | 98.5% | External - Cabling error due to upgrade.
1608130016-1 | Jhb | Rf Switch | 13/08/2016 11:43 | 13/08/2016 12:37 | 99.85% | SADC main RF Switch faulty after upgrade - switched services to backup - services restored
1608150023-1 | Dar Es Salaam/Kinshasa | ATS/DS | 15/08/2016 08:07 | 15/08/2016 08:13 | 98.5% | External - cable fault in Kinshasa
1608150045-1 | Dar Es Salaam/Nairobi | ATS/DS | 15/08/2016 15:26 | 15:08/2016 15:49 | 99.85% | Reset IDU in Nairobi
1608160033-1 | Gaborone/Jhb | ATS/DS | 16/08/2016 10:03 | 16/08/2016 10:10 | 100% | External - Voice levels low - adjusted at respective sites.
1608200006-1 | Maputo/Jhb | ATS/DS | 20/08/2016 08:28 | 20/08/2016 09:15 | 100% | No fault found - fault was resored upon investigation
1608220059-1 | Maseru | Upgrade | 22/08/2016 18:26 | 22/08/2016 18:38 | 100% | Upgrade in progress
1608220061-1 | Windhoek | Upgrade | 22/08/2016 18:31 | 22/08/2016 18:33 | 100% | Upgrade in progress
1608230012-1 | Jhb/Maputo | ATS/DS | 23/08/2016 07:30 | 23/08/2016 08:12 | 100% | No fault found - fault was resored upon investigation
1608250047-1 | Jhb/Maputo | ATS/DS | 25/08/2016 22:56 | 25/08/2016 23:50 | 100% | No fault found - fault was resored upon investigation
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1608040013-1 | Dar Es Salaam | ATS/DS | 2016-04-08 08:32 | 2016-04-08 08:41 | 99.85% | Voice intermittant - Reset Idu and MUX
1608060020-1 | Harare/Lusaka | ATS/DS | 2016-06-08 15:38 | 2016-08-08 14:45 | 98.5% | External - VCCS in Lusaka problamatic - local technical staff restored
1608070008-1 | Luanda/Lusaka | ATS/DS | 2016-07-08 15:08 | 2016-07-08 15:15 | 99.85% | External - VCCS in Lusaka problamatic - local technical staff restored
1608070008-2 | Harare/Lusaka | ATS/DS | 2016-07-08 15:08 | 2016-07-08 15:08 | 99.85% | External - VCCS in Lusaka problamatic - local technical staff restored - see previous fault
1608100045-1 | Jhb/Windhoek | ATS/DS | 2016-10-08 18:31 | 2016-11-08 18:57 | 98.5% | External - Cabling error due to upgrade.
1608130016-1 | Jhb/Gab | ATS/DS | 13/08/2016 11:43 | 13/08/2016 12:37 | 99.85% | SADC main RF Switch faulty after upgrade - switched services to backup - services restored
1608150023-1 | Dar Es Salaam/Kinshasa | ATS/DS | 15/08/2016 08:07 | 15/08/2016 08:13 | 98.5% | External - cable fault in Kinshasa
1608150045-1 | Dar Es Salaam/Nairobi | ATS/DS | 15/08/2016 15:26 | 15:08/2016 15:49 | 99.85% | Reset IDU in Nairobi