## Availability (Aug2017)
Summary of System/Circuit outages (Aug2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1708140041-1 | Maseru | System | 14/08/2017 15:51 | 14/08/2017 18:49 | 99.85% | Preventative maintenance
1708170014-1 | Beira | System | 17/08/2017 06¦:31 | 17/08/2017 07:30 | 99.85% | RF Switch stuck
1708230011-1 | Maseru | System | 23/08/2017 07:32 | 23/08/2017 07:57 | 99.85% | RF Switch stuck
1708220047-1 | Kinshasa | System | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1708250024-1 | Kinshasa | RF Switch | 25/08/2017 11:42 | 25/08/2017 11:44 | 100% | RF Switch stuck - no effect on service - needs replacement
1708010034-1 | Manzini/Jhb | ATS/DS | 01/08/2017 12:25 | 01/08/2017 12:39 | 100% | No Fault Found upon investigation
1708160030-1 | Maputo/Manzini | ATS/DS | 16/08/2017 10:00 | 16/08/2017 10:15 | 99.98% | External - VCCS in Manzini-restored
1708180045-1 | Luanda/Jhb | AFTN | 18/08/2017 21:46 | 18/08/2017 22:15 | 99.95% | Reset FAD in Luanda
1708210047-1 | Jhb/Kinshasa | AFTN | 21/08/2017 13:54 | 21/08/2017 13:58 | 99.85% | External - AFTN in Kinshasa - new system
1708210053-1 | Jhb/Lilongwe | AFTN | 21/08/2017 18:18 | 22/08/2017 14:27 | 98.5% | External - AFTN PC in Lilongwe- restored
1708210059-1 | Luanda/Jhb | ATS/DS | 21/08/2017 22:29 | 21/08/2017 22:30 | 99.85% | Reset old IDU 5000
1708220031-1 | Luanda/Jhb | ATS/DS | 22/08/2017 10:18 | 22/08/2017 13:54 | 99.85% | See previous fault
1707310026-1 | Luanda/Accra | ATS/DS | 31/07/2017 06:55 | 01/07/2017 10:01 | 100% | No Fault Found upon investigation
1707310046-1 | Jhb/Kinshasa | AFTN | 30/07/2017 12:18 | 30/07/2017 12:18 | 99.85% | External - AMHS problem in Luanda
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1708140041-1 | Maseru/Jhb | ATS/DS | 14/08/2017 15:51 | 14/08/2017 18:49 | 99.85% | Preventative maintenance
1708140041-1 | Maseru/Jhb | AFTN | 14/08/2017 15:51 | 14/08/2017 18:49 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Dar Es Salaam | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Lusaka | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Khatoum | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Entebbe | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Kigali | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Bujumbura | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Luanda | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Brazzaville | ATS/DS | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Brazzaville | AFTN | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1708220047-1 | Kinshasa/Jhb | AFTN | 22/08/2017 14:29 | 22/08/2017 17:00 | 99.85% | Preventative maintenance
1707240033-1 | Beira/Antana | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Dar Es Salaam | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Harare | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Jhb | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Lilongwe | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Lusaka | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Maputo | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Jhb | AFTN | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707080021-1 | Antana/Beira | ATS/DS | 08/07/2017 15:46 | 08/07/2017 15:59 | 99.95% | Configuration on FAD in Beira corrected
1707140048-1 | Gaborone/Jhb | ATS/DS | 14/07/2017 15:55 | 14/07/2017 16:36 | 99.89% | External - VCCS in Gaborone-restored
1707270048-1 | Jhb/Luanda | ATS/DS | 27/07/2017 16:21 | 27/07/2017 16:24 | 99.85% | Quad FXS failed - reconfigured services to other ports and some to old network
1707280036-1 | Dar Es Salaam/Nairobi | AFTN | 28/07/2017 14:42 | 28/07/2017 14:45 | 99.85% | see fault 1707280028-1 on NAFISAT - Nairobi IDU5000 causing interferance - restored
1707310046-1 | Jhb/Kinshasa | AFTN | 30/07/2017 12:18 | 30/07/2017 12:18 | 99.85% | External - AMHS problem in Luanda
1708160030-1 | Maputo/Manzini | ATS/DS | 16/08/2017 10:00 | 16/08/2017 10:15 | 99.98% | External - VCCS in Manzini-restored
1708180045-1 | Luanda/Jhb | AFTN | 18/08/2017 21:46 | 18/08/2017 22:15 | 99.95% | Reset FAD in Luanda
1708210047-1 | Jhb/Kinshasa | AFTN | 21/08/2017 13:54 | 21/08/2017 13:58 | 99.85% | External - AFTN in Kinshasa - new system
1708210053-1 | Jhb/Lilongwe | AFTN | 21/08/2017 18:18 | 22/08/2017 14:27 | 98.5% | External - AFTN PC in Lilongwe- restored
1708210059-1 | Luanda/Jhb | ATS/DS | 21/08/2017 22:29 | 21/08/2017 22:30 | 99.85% | Reset old IDU 5000
1708220031-1 | Luanda/Jhb | ATS/DS | 22/08/2017 10:18 | 22/08/2017 13:54 | 99.85% | See previous fault
1707310046-1 | Jhb/Kinshasa | AFTN | 30/07/2017 12:18 | 30/07/2017 12:18 | 99.85% | External - AMHS problem in Luanda