## Availability (Dec2015)
Summary of System/Circuit outages (Dec2015)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1512030017-1 | Gaborone | system | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1508250024-1 | Lusaka | UPS | 25/08/2015 | 25/08/2015 | 100% | External - UPS intermittant, no effect on service
1512150040-1 | Luanda/Jhb | ATS/DS | 15/12/2015 19:55 | 15/12/2015 19:59 | 100% | No Fault Found - Fault restored upon investigation
1512290014-1 | Jhb/Lusaka | AFTN | 29/12/2015 09:49 | 29/12/2015 9:50 | 99.99% | External - AMSS in Lusaka was problamatic
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1512030017-1 | Gaborone/Jhb | ATS/DS | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
1512030017-1 | Gaborone/Harare | ATS/DS | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
1512030017-1 | Gaborone/Luanda | ATS/DS | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
1512030017-1 | Gaborone/Lusaka | ATS/DS | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
1512030017-1 | Gaborone/Windhoek | ATS/DS | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
1512030017-1 | Gaborone/Jhb | AFTN | 2015-03-12 06:45 | 2015-04-12 12:00 | 98.5% | Rf Switch caused the IDU to be intermittant and switch off
1512290014-1 | Jhb/Lusaka | AFTN | 29/12/2015 09:49 | 29/12/2015 9:50 | 99.99% | External - AMSS in Lusaka was problamatic