## Availability (Dec2017)
Summary of System/Circuit outages (Dec2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1712250043-1 | Beira | System | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
171204120-1 | Dar Es Salaam | RF Switch | 04/12/2017 08:57 | 04/12/2017 08:59 | 100% | RF Switch stuck - no effect on service - needs replacement
1712080023-1 | Jhb/Manzini | AFTN | 08/12/2017 09:22 | 11/12/2017 08:26 | 90.46% | External - AFTN in Beira no DTR - Restored by Jo in Beira
1712120012-1 | Windhoek/Jhb | ATS/DS | 12/12/2017 07:36 | 12/12/2017 08:15 | 99.85% | External - VCCS at FAOR restored
1711120055-1 | Luanda/Accra | ATS/DS | 13/11/2017 12:20 | 13/11/2017 12:20 | 0% | External - the VSAT system was checked and found to be 100% - Levels in Accra are low - suspect reception levels - cannot increace transmit power levels in Luanda as it affects the other sites
1712270017-1 | Maputo/Jhb | ATS/DS | 27/12/2017 10:10 | 27/12/2017 11:45 | 100% | No Fault Found upon investigation
1712270017-2 | Maputo/Jhb | AFTN | 27/12/2017 10:10 | 27/12/2017 11:36 | 100% | No Fault Found upon investigation
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1712250043-1 | Beira/Antananarivo | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Dar Es Salaam | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Harare | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Jhb | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Lilongwe | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Lusaka | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Maputo | ATS/DS | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712250043-1 | Beira/Jhb | AFTN | 25/12/2017 09:39 | 29/12/2017 00:30 | 98.5% | Both RFT's failed - delays with flights and courrier services due to Christmas.
1712080023-1 | Jhb/Manzini | AFTN | 08/12/2017 09:22 | 11/12/2017 08:26 | 90.46% | External - AFTN in Beira no DTR - Restored by Jo in Beira
1712120012-1 | Windhoek/Jhb | ATS/DS | 12/12/2017 07:36 | 12/12/2017 08:15 | 99.85% | External - VCCS at FAOR restored
1711120055-1 | Luanda/Accra | ATS/DS | 13/11/2017 12:20 | 13/11/2017 12:20 | 0% | External - the VSAT system was checked and found to be 100% - Levels in Accra are low - suspect reception levels - cannot increace transmit power levels in Luanda as it affects the other sites - Accra does not have spare modems. Confirmed during SNMC/25 in Dec 17