## Availability (Feb2015)
Summary of System/Circuit outages (Feb 2015)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1502110045-1 | Entebbe | System | 26/11/2014 | 26/11/2015 | 100% | Back dated Preventative maintenance activity - MMS records
1502110046-1 | Entebbe MMC | System | 26/11/2014 | 26/11/2014 | 100% | Back dated Preventative maintenance activity - MMS records
1502110047-1 | Addis Ababa | System | 26/11/2014 | 26/11/2014 | 100% | Back dated Preventative maintenance activity - MMS records
1502110050-1 | Djibouti | System | 26/11/2014 | 26/11/2014 | 100% | Back dated Preventative maintenance activity - MMS records
1502110052-1 | Cairo | System | 26/11/2014 | 26/11/2014 | 100% | Back dated Preventative maintenance activity - MMS records
1502110053-1 | Victotia | System | 26/11/2014 | 26/11/2014 | 100% | Back dated Preventative maintenance activity - MMS records
1502110056-1 | Khartoum | System | 26/11/2014 | 26/11/2014 | 100% | Back dated Preventative maintenance activity - MMS records
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 31/01/2013 | 100% | NMS Statistical software- No affect on service
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member
1408110045-1 | Sana'a | RFT | 11/08/2014 22:52 | 11/08/2014 23:00 | 100% | Changed to standby chain - RFT needs testing at site
1412220024-1 | Tripoli | RFT | 22/12/2014 09:43 | 31/12/2014 | 100% | RFT 1 faulty - no effect on service - needs replacement
1502220003-1 | Jeddah/Sana'a | AFTN | 22/01/2015 05:40 | 22/02/2015 06:48 | 100% | No Fault found - messages were received at Sana'a but no response from Sana'a
1502140016-1 | Nairobi/Khartoum | ATS/DS | 14/02/2015 07:43 | 14/02/2015 07:59 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1
1502140017-1 | Addis/Nairobi | ATS/DS | 14/02/2015 07:43 | 14/02/2015 07:59 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1 - see previous fault
1502140018-1 | Nairobi/Dar Es Salaam | ATS/DS | 14/02/2015 07:43 | 14/02/2015 07:59 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1 - see previous fault
1502140029-1 | Djibouti | AFTN | 14/02/2015 14:34 | 14/02/2015 15:03 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1 - see previous fault
1502140026-1 | Mogadishu | RFT | 14/02/2015 12:37 | 28/02/2015 | 100% | RFT 1 reported faulty. Needs replacement
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1502140016-1 | Nairobi/Khartoum | ATS/DS | 14/02/2015 07:43 | 14/02/2015 07:59 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1
1502140017-1 | Addis/Nairobi | ATS/DS | 14/02/2015 07:43 | 14/02/2015 07:59 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1 - see previous fault
1502140018-1 | Nairobi/Dar Es Salaam | ATS/DS | 14/02/2015 07:43 | 14/02/2015 07:59 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1 - see previous fault
1502140029-1 | Djibouti | AFTN | 14/02/2015 14:34 | 14/02/2015 15:03 | 99.85% | RFT 2 in JHB intermittant - switched to chain 1 - see previous fault