## Availability (Feb2019)
Summary of System/Circuit outages (Feb2019)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1902230012-1 | Mogadishu | System | 23/02/2019 14:17 | 23/02/2019 14:20 | 99.99% | M&C cable causing system to switch and cross RF chains - cable needs replacement
1902060031-1 | Mogadishu | System | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902100012-1 | Sanaá | System | 10/02/2019 10:59 | 10/02/2019 11:09 | 99.9% | IDU 5000 intermittant - needs replacement
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1902110028-1 | Mogadishu/Nairobi | AFTN | 11/02/2019 13:04 | 11/02/2019 13:11 | 99.99% | Reset FAD in Nairobi
1902120083-1 | Mogadishu | IDU 5000 | 12/02/2019 09:30 | 12/02/2019 09:41 | 100% | IDU 5000 levels adjusted after installation for Sanaá circuit
1902150031-1 | Nairobi/Jhb | AFTN | 15/02/2019 13:45 | 15/02/2019 14:00 | 100% | No fault found upon investigation
1902210022-1 | Mogadishu/Nairobi | AFTN | 21/02/2019 13:26 | 21/02/2019 14:00 | 100% | No fault found upon investigation
1902220032-1 | Asmara/Jeddah | ATS/DS | 22/02/2019 22:38 | 22/02/2019 22:48 | 78.6% | IDU 5000 u/s needs replacement - IDU dispatched
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1902060031-1 | Mogadishu/Addis | ATS/DS | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902060031-1 | Mogadishu/Djibouti | ATS/DS | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902060031-1 | Mogadishu/Nairobi | ATS/DS | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902060031-1 | Mogadishu/Victoria | ATS/DS | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902060031-1 | Mogadishu/Sanaá | ATS/DS | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902060031-1 | Mogadishu/Nairobi | AFTN | 06/02/2019 10:22 | 06/02/2019 11:15 | 99.85% | Preventative maintenance
1902220032-1 | Asmara/Jeddah | ATS/DS | 22/02/2019 22:38 | 22/02/2019 22:48 | 78.6% | IDU 5000 u/s needs replacement - IDU dispatched