## Availability (Feb2016)
Summary of System/Circuit outages (Feb2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1602170040-1 | Gaborone | system | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602180017-1 | Lesotho | system | 18/02/2016 07:38 | 18/02/2016 08:10 | 99.93% | RF switch stuck in wrong position - Restored
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually
1602080042-1 | Kinshasa/Lusaka | ATS/DS | 2016-08-02 13:26 | 2016-08-02 13:49 | 99.85% | External voice switch - restored
1602150044-1 | Gaborone/Jhb | ATS/DS | 15/02/2016 16:44 | 15/02/2016 19:05 | 99.85% | Reset MEMOTEC in Jhb - service was operational, just soft
1602170034-1 | Gaborone | Rf Switch | 17/02/2016 12:32 | 17/02/2016 12:35 | 100% | Part replacement on MMS
1602040034-1 | Dar Es Salaam/Jhb | AFTN | 2016-04-02 17:00 | 2016-04-02 17:14 | 99.99% | External - The line was diverted at Dar Es Salaam and was restored
1602200006-1 | Jhb/Lilongwe | AFTN | 20/02/2016 12:43 | 23/02/2016 15:00 | 98.5% | External - PCI serial card on the AFTN PC replaced. Flights fully booked on Monday and Tuesday-travelled on Wednesday
1602260014-1 | Manzini/Jhb | AFTN | 26/02/2016 09:12 | 26/02/2016 09:15 | 100% | External - Duplication of messages from Jhb AFTN - Restored
1602260047-1 | Gaborone/Jhb | ATS/DS | 26/02/2016 18:33 | 26/02/2016 18:35 | 99.99% | Reset MEMOTEC in Jhb - service was operational, just soft - see 1602150044-1
1602260047-2 | Gaborone/Harare | ATS/DS | 26/02/2016 18:33 | 26/02/2016 18:33 | 99.99% | Reset MEMOTEC in Gaborone - service was operational, just soft - see 1602150047-1
1602280004-1 | Dar Es Salaam/Antana | ATS/DS | 28/02/2016 06:28 | 28/02/2016 07:58 | 99.95% | Reset MEMOTEC in Dar Es Salaam
1602250016-1 | Plaisance | RFT | 25/02/2016 07:30 | 25/02/2016 08:54 | 100% | Redundant chain not registering on the RCU - removed M&C cable from RFT - Site operational with redundant chains
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1602170040-1 | Gaborone/Jhb | ATS/DS | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602170040-1 | Gaborone/Harare | ATS/DS | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602170040-1 | Gaborone/Luanda | ATS/DS | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602170040-1 | Gaborone/Lusaka | ATS/DS | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602170040-1 | Gaborone/Windhoek | ATS/DS | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602170040-1 | Gaborone/Jhb | AFTN | 17/02/2016 16:20 | 17/02/2016 17:33 | 99.85% | RF switch stuck in wrong position - Restored
1602180017-1 | Lesotho/Jhb | ATS/DS | 18/02/2016 07:38 | 18/02/2016 08:10 | 99.93% | RF switch stuck in wrong position - Restored
1602180017-1 | Lesotho/Jhb | AFTN | 18/02/2016 07:38 | 18/02/2016 08:10 | 99.93% | RF switch stuck in wrong position - Restored
1602080042-1 | Kinshasa/Lusaka | ATS/DS | 2016-08-02 13:26 | 2016-08-02 13:49 | 99.85% | External voice switch - restored
1602150044-1 | Gaborone/Jhb | ATS/DS | 15/02/2016 16:44 | 15/02/2016 19:05 | 99.85% | Reset MEMOTEC in Jhb - service was operational, just soft
1602200006-1 | Jhb/Lilongwe | AFTN | 20/02/2016 12:43 | 23/02/2016 15:00 | 98.5% | External - PCI serial card on the AFTN PC replaced. Flights fully booked on Monday and Tuesday-travelled on Wednesday
1602280004-1 | Dar Es Salaam/Antana | ATS/DS | 28/02/2016 06:28 | 28/02/2016 07:58 | 99.95% | Reset MEMOTEC in Dar Es Salaam
1602040034-1 | Dar Es Salaam/Jhb | AFTN | 2016-04-02 17:00 | 2016-04-02 17:14 | 99.99% | External - The line was diverted at Dar Es Salaam and was restored