## Availability (Feb2017)
Summary of System/Circuit outages (Feb2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1702160037-1 | Lilongwe | System | 16/02/2017 13:51 | 16/02/2017 15:30 | 99.85% | System Upgrade finalisation
1702210029-1 | Luanda | System | 21/02/2017 14:59 | 23/02/2017 22:00 | 100% | System upgrade in progress
1702210029-1 | Luanda | System | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702210030-1 | Dar Es Salaam | System | 20/02/2017 15:01 | 20/02/2017 15:59 | 100% | System upgrade in progress - snags
1702280049-1 | Windhoek Jhb | ATS/DS | 28/02/2017 15:28 | 28/02/2017 15:45 | 99.55% | IDU 5000 faulty - transitioned to IDU 2570
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1702070041-1 | Jhb/Harae | ATS/DS | 07/02/2017 17:42 | 07/02/2017 18:38 | 99.85% | IDU was rest in Jhb
1702090038-1 | Dar Es Salaam/Lilongwe | ATS/DS | 09/02/2017 14:01 | 09/02/2017 14:12 | 99.95% | Reset IDU in Dar - Edna
1702090041-1 | Jhb/Luanda | ATS/DS | 09/02/2017 14:52 | 09/02/2017 15:02 | 100% | No Fault found upon investigation
1702130072-1 | Jhb/Lilongwe | AFTN | 13/02/2017 21:26 | 14/02/2017 13:00 | 98.5% | External - AFTN PC comms port damaged by lightning. Restored and migrated to new network
1702140017-1 | Dar Es Salaam/Lilongwe | ATS/DS | 14/02/2017 08:13 | 14/02/2017 12:00 | 99.85% | se prev fault - lightning in Lilongwe - 1702130072-1
1702150015-1 | Luanda/Windhoek | ATS/DS | 15/02/2017 08:08 | 15/02/2017 9:20 | 99.85% | Replaced IDU in Luanda
1702210031-1 | Bujumbura | RF Switch | 08/02/2017 15:01 | 13/02/2017 15:03 | 100% | Rf Switch needs replacement. No effect on service
1702230029-1 | Jhb/Windhoek | ATS/DS | 23/02/2017 11:34 | 23/02/2017 11:55 | 99.95% | Reset IDU in Windhoek
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1702160037-1 | Lilongwe/Dar Es Salaam | ATS/DS | 16/02/2017 13:51 | 16/02/2017 15:30 | 99.85% | System Upgrade finalisation
1702160037-1 | Lilongwe/Harare | ATS/DS | 16/02/2017 13:51 | 16/02/2017 15:30 | 99.85% | System Upgrade finalisation
1702160037-1 | Lilongwe/Beira | ATS/DS | 16/02/2017 13:51 | 16/02/2017 15:30 | 99.85% | System Upgrade finalisation
1702160037-1 | Lilongwe/Lusaka | ATS/DS | 16/02/2017 13:51 | 16/02/2017 15:30 | 99.85% | System Upgrade finalisation
1702160037-1 | Lilongwe/Jhb | AFTN | 16/02/2017 13:51 | 16/02/2017 15:30 | 99.85% | System Upgrade finalisation
1702210029-1 | Luanda/Jhb | ATS/DS | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702210029-1 | Luanda/Lusaka | ATS/DS | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702210029-1 | Luanda/Gaborone | ATS/DS | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702210029-1 | Luanda/Kinshasa | ATS/DS | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702210029-1 | Luanda/Windhoek | ATS/DS | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702210029-1 | Luanda/Jhb | AFTN | 21/02/2017 14:60 | 23/02/2017 22:01 | 99.85% | Preventative maintenance
1702280049-1 | Windhoek/Jhb | ATS/DS | 28/02/2017 15:28 | 28/02/2017 15:45 | 99.55% | IDU 5000 faulty - transitioned to IDU 2570
1702280049-1 | Windhoek /Angola | ATS/DS | 28/02/2017 15:28 | 28/02/2017 15:45 | 99.55% | IDU 5000 faulty - transitioned to IDU 2570
1702280049-1 | Windhoek/Gaborone | ATS/DS | 28/02/2017 15:28 | 28/02/2017 15:45 | 99.55% | IDU 5000 faulty - transitioned to IDU 2570
1702280049-1 | Windhoek/Lusaka | ATS/DS | 28/02/2017 15:28 | 28/02/2017 15:45 | 99.55% | IDU 5000 faulty - transitioned to IDU 2570
1702280049-1 | Windhoek/Jhb | AFTN | 28/02/2017 15:28 | 28/02/2017 15:45 | 99.55% | IDU 5000 faulty - transitioned to IDU 2570
1702070041-1 | Jhb/Harae | ATS/DS | 07/02/2017 17:42 | 07/02/2017 18:38 | 99.85% | IDU was rest in Jhb
1702090038-1 | Dar Es Salaam/Lilongwe | ATS/DS | 09/02/2017 14:01 | 09/02/2017 14:12 | 99.95% | Reset IDU in Dar - Edna
1702130072-1 | Jhb/Lilongwe | AFTN | 13/02/2017 21:26 | 14/02/2017 13:00 | 98.5% | External - AFTN PC comms port damaged by lightning. Restored and migrated to new network
1702140017-1 | Dar Es Salaam/Lilongwe | ATS/DS | 14/02/2017 08:13 | 14/02/2017 12:00 | 99.85% | se prev fault - lightning in Lilongwe - 1702130072-1
1702150015-1 | Luanda/Windhoek | ATS/DS | 15/02/2017 08:08 | 15/02/2017 9:20 | 99.85% | Replaced IDU in Luanda
1702230029-1 | Jhb/Windhoek | ATS/DS | 23/02/2017 11:34 | 23/02/2017 11:55 | 99.95% | Reset IDU in Windhoek