## Availability (Jan2015)
Summary of System/Circuit outages (Jan2015)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1401140048-1 | Maputo | System | 14/01/2015 19:28 | 14/01/2015 20:00 | 99.9% | External - Mains power outage - restored
1501150064-1 | Maputo | System | 15/01/2015 14:58 | 15/01/2015 15:36 | 99.85% | Preventative maintenance
1501090061-1 | Gaborone | System | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT
1501130022-1 | Gaborone | System | 13/01/2015 07:34 | 1/01/2015 07:55 | 99.93% | System manually switched to Chain 2
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1408210038-1 | Maseru | RFT | 21/08/2014 11:27 | 25/08/2014 13:13 | 100% | RFT1 suspect - stable now, needs to be tested during PM
1409250039-1 | Beira | RFT | 25/09/2014 11:12 | 25/09/2014 13:01 | 100% | RFT1 failure RFT2 operational - needs replacement during PM
1409300028-1 | Maseru | UPS | 30/09/2014 07:34 | 30/09/2014 07:40 | 100% | External - UPS - Mains failure and UPS batt suspect - will be tested during PM
1501090061-2 | Gaborone | TR switch | 09/01/2015 23:25 | 10/01/2015 10:00 | 98.65% | Tr Switch was stuck - restored at site
1501090061-3 | Gaborone | RFT | 09/01/2015 23:25 | 10/01/2015 10:00 | 98.65% | RFT replaced see fault 1501090061-1 RFT1 needs replacement
1501100016-1 | Jhb/Windhoek | ATS/DS | 10/01/2015 11:38 | 10/01/2015 11:45 | 100% | No fault found
1501120035-1 | Gaborone/Harare | ATS/DS | 12/01/2015 09:52 | 12/01/2015 10:02 | 100% | Gaborone doing maintenance on their VCCS
1501190028-1 | Bujumbura/Dar Es Salaam | ATS/DS | 19/01/2015 10:28 | 19/01/2015 10:32 | 100% | No fault found
150120005-1 | Jhb | IDU | 20/01/2015 | 20/01/2015 | 100% | Parts replacement on MMS
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1401140048-1 | Maputo/Beira | ATS/DS | 14/01/2015 19:28 | 14/01/2015 20:00 | 99.9% | External - Mains power outage - restored
1401140048-1 | Maputo/Harare | ATS/DS | 14/01/2015 19:28 | 14/01/2015 20:00 | 99.9% | External - Mains power outage - restored
1401140048-1 | Maputo/Jhb | ATS/DS | 14/01/2015 19:28 | 14/01/2015 20:00 | 99.9% | External - Mains power outage - restored
1401140048-1 | Maputo/Manzini | ATS/DS | 14/01/2015 19:28 | 14/01/2015 20:00 | 99.9% | External - Mains power outage - restored
1401140048-1 | Maputo/Jhb | AFTN | 14/01/2015 19:28 | 14/01/2015 20:00 | 99.9% | External - Mains power outage - restored
1501090061-1 | Gaborone/Harare | ATS/DS | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT
1501090061-1 | Gaborone/Jhb | ATS/DS | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT
1501090061-1 | Gaborone/Luanda | ATS/DS | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT
1501090061-1 | Gaborone/Lusaka | ATS/DS | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT
1501090061-1 | Gaborone/Windhoek | ATS/DS | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT
1501090061-1 | Gaborone/Jhb | AFTN | 09/01/2015 23:27 | 10/01/2015 09:54 | 98.65% | RF restored - Replaced RFT