## Availability (Jan2016)
Summary of System/Circuit outages (Jan2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1601060020-1 | Windhoek | system | 2016-06-01 13:17 | 2016-06-01 14:05 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1601040006-1 | Windhoek | IDU | 2016-04-01 08:46 | 2016-04-01 08:49 | 100% | Reloaded software during PM
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually
1601130043-1 | Harare/Jhb | AFTN | 13/01/2016 09:25 | 13/01/2016 09:50 | 99.93% | External - AFTN in JHB restored - no fault on VSAT
1601160007-1 | Jhb/Maputo | ATS/DS | 16/01/2016 08:51 | 16/01/2016 08:54 | 100% | No Fault Found upon investigation -service confirmed operational
1601190045-1 | Harare/Jhb | AFTN | 19/01/2016 20:48 | 19/01/2016 21:01 | 100% | No Fault Found upon investigation -service confirmed operational
1601240031-1 | Harare/Jhb | ATS/DS | 24/01/2016 14:25 | 24/01/2016 15:28 | 99.85% | Reset Skywan in Harare
1601280022-1 | Beira/Harare | ATS/DS | 28/01/2016 09:53 | 28/01/2016 10:18 | 99.93% | Reset MEMOTEC in Beira
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1601060020-1 | Windhoek/Gaborone | ATS/DS | 2016-06-01 13:17 | 2016-06-01 14:05 | 99.85% | Preventative maintenance
1601060020-1 | Windhoek/Jhb | ATS/DS | 2016-06-01 13:17 | 2016-06-01 14:05 | 99.85% | Preventative maintenance
1601060020-1 | Windhoek/Luanda | ATS/DS | 2016-06-01 13:17 | 2016-06-01 14:05 | 99.85% | Preventative maintenance
1601060020-1 | Windhoek/Luaska | ATS/DS | 2016-06-01 13:17 | 2016-06-01 14:05 | 99.85% | Preventative maintenance
1601060020-1 | Windhoek/Jhb | AFTN | 2016-06-01 13:17 | 2016-06-01 14:05 | 99.85% | Preventative maintenance
1601130043-1 | Harare/Jhb | AFTN | 13/01/2016 09:25 | 13/01/2016 09:50 | 99.93% | External - AFTN in JHB restored - no fault on VSAT
1601240031-1 | Harare/Jhb | ATS/DS | 24/01/2016 14:25 | 24/01/2016 15:28 | 99.85% | Reset Skywan in Harare
1601280022-1 | Beira/Harare | ATS/DS | 28/01/2016 09:53 | 28/01/2016 10:18 | 99.93% | Reset MEMOTEC in Beira