## Availability (Jan2018)
Summary of System/Circuit outages (Jan2018)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1801100050-1 | Kinshasa | System | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801090020-1 | Manzini | System | 09/01/2018 09:28 | 09/01/2018 9:45 | 98.5% | Both RFT's and FPS's failed after lightning
1801180008-1 | Gaborone | System | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801310036-1 | Maseru | System | 31/01/2018 08:00 | 31/01/2018 09:30 | 99.8% | External - Cable problem on the splitter
1801310036-2 | Maseru | System | 31/01/2018 08:00 | 31/01/2018 08:00 | 99.85% | Reset switch
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
171204120-1 | Dar Es Salaam | RF Switch | 04/12/2017 08:57 | 04/12/2017 08:59 | 100% | RF Switch stuck - no effect on service - needs replacement
1711120055-1 | Luanda/Accra | ATS/DS | 13/11/2017 12:20 | 13/11/2017 12:20 | 75% | External - the VSAT system was checked and found to be 100% - Levels in Accra are low - suspect reception levels - cannot increace transmit power levels in Luanda as it affects the other sites - Accra restored their receiver
1801050015-1 | Jhb/Maputo | AFTN | 05/01/2018 06:45 | 05/01/2018 07:00 | 100% | No Fault Found upon investigation
1801100050-1 | Kinshasa/Lusaka | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | No Fault Found upon investigation- Maintenance being done
1801120045-1 | Jhb/Windhoek | ATS/DS | 12/01/2018 19:41 | 12/01/2018 19:56 | 100% | No Fault Found upon investigation
1801170030-1 | Jhb/Luanda | ATS/DS | 17/01/2018 11:50 | 18/01/2018 12:30 | 98.5% | External - VCCS in Luanda restored
1801180012-1 | Lusaka/Windhoek | ATS/DS | 18/01/2018 07:21 | 18/01/2018 07:30 | 100% | No Fault Found upon investigation
1801180058-1 | Gaborone/Jhb | AFTN | 18/01/2018 22:44 | 18/01/2018 23:00 | 99.73% | External - Cable problem on the splitter - see 1801180008-1
1801220020-1 | Jhb/Lilongwe | AFTN | 22/01/2018 05:55 | 22/01/2018 07:30 | 100% | No Fault Found upon investigation
1801270010-1 | bujumbura/Jhb | AFTN | 27/01/2018 12:50 | 28/01/2018 00:1 | 98.5% | External - mains power failure at site - they are doing maintenance
1801280011-1 | Beira/Jhb | AFTN | 28/01/2018 11:44 | 28/01/2018 14:09 | 99.73% | External - AMHS in Beira restored
1801300083-1 | Jhb/Maseru | AFTN | 30/01/2018 19:15 | 30/01/2018 19:49 | 99.85% | External - AFTN system switched off after operator finished shift
1801290032-1 | Jhb/Lilongwe | AFTN | 29/01/2018 10:10 | 29/01/2018 10:20 | 100% | External - AFTN PC messages queing up - deleted que
1801300018-1 | Lilongwe/Lusaka | ATS/DS | 29/01/2018 10:00 | 29/01/2018 11:00 | 100% | External - Switch between tower and FIC in Lilongwe switched to wrong position
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1801100050-1 | Kinshasa/Bujumbura | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801100050-1 | Kinshasa/Dar Es Salaam | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801100050-1 | Kinshasa/Kigali | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801100050-1 | Kinshasa/Entebbe | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801100050-1 | Kinshasa/Khartoum | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801100050-1 | Kinshasa/Luanda | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801100050-1 | Kinshasa/Jhb | AFTN | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | Preventative maintenance
1801090020-1 | Manzini/Jhb | ATS/DS | 09/01/2018 09:28 | 09/01/2018 9:45 | 98.5% | Both RFT's and FPS's failed after lightning
1801090020-1 | Manzini/Maputo | ATS/DS | 09/01/2018 09:28 | 09/01/2018 9:45 | 98.5% | Both RFT's and FPS's failed after lightning
1801090020-1 | Manzini/Jhb | AFTN | 09/01/2018 09:28 | 09/01/2018 9:45 | 98.5% | Both RFT's and FPS's failed after lightning
1801180008-1 | Gaborone/Harare | ATS/DS | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801180008-1 | Gaborone/Jhb | ATS/DS | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801180008-1 | Gaborone/Kinshasa | ATS/DS | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801180008-1 | Gaborone/Lusaka | ATS/DS | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801180008-1 | Gaborone/Luanda | ATS/DS | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801180008-1 | Gaborone/Jhb | AFTN | 18/01/2018 06:04 | 18/01/2018 08:23 | 99.73% | Reset RCU in Gaborone
1801310036-1 | Maseru/Jhb | ATS/DS | 31/01/2018 08:00 | 31/01/2018 09:30 | 99.8% | External - Cable problem on the splitter
1801310036-1 | Maseru/Jhb | AFTN | 31/01/2018 08:00 | 31/01/2018 09:30 | 99.8% | External - Cable problem on the splitter
1711120055-1 | Luanda/Accra | ATS/DS | 13/11/2017 12:20 | 13/11/2017 12:20 | 75% | External - the VSAT system was checked and found to be 100% - Levels in Accra are low - suspect reception levels - cannot increace transmit power levels in Luanda as it affects the other sites - Accra restored their receiver
1801100050-1 | Kinshasa/Lusaka | ATS/DS | 10/01/2018 16:25 | 10/01/2018 16:43 | 99.85% | No Fault Found upon investigation- Maintenance being done
1801170030-1 | Jhb/Luanda | ATS/DS | 17/01/2018 11:50 | 18/01/2018 12:30 | 98.5% | External - VCCS in Luanda restored
1801180058-1 | Gaborone/Jhb | AFTN | 18/01/2018 22:44 | 18/01/2018 23:00 | 99.73% | External - Cable problem on the splitter - see 1801180008-1
1801270010-1 | bujumbura/Jhb | AFTN | 27/01/2018 12:50 | 28/01/2018 00:1 | 98.5% | External - mains power failure at site - they are doing maintenance
1801280011-1 | Beira/Jhb | AFTN | 28/01/2018 11:44 | 28/01/2018 14:09 | 99.73% | External - AMHS in Beira restored
1801300083-1 | Jhb/Maseru | AFTN | 30/01/2018 19:15 | 30/01/2018 19:49 | 99.85% | External - AFTN system switched off after operator finished shift