## Availability (Jan2019)
Summary of System/Circuit outages (Jan2019)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1901030045-1 | Kinshasa | System | 03/01/2018 16:49 | 31/01/2018 16:59 | 98.5% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901150040-1 | Maputo | System | 15/01/2019 18:07 | 16/01/2019 12:00 | 99.2% | RF switches stuck and could not move manually - replaced
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1901010021-1 | Dar Es Salaam/Jhb | AFTN | 01/01/2019 20:33 | 01/01/2019 20:45 | 100% | No Fault Found upon investigation
1901030020-1 | Lilongwe | FAD | 03/01/2019 08:59 | 03/01/2019 09:04 | 100% | Part replacement - card needs to be replaced during next visit - ref 1812280021
1901030046-1 | Kinshasa | FPS | 03/01/2019 16:51 | 03/01/2019 16:55 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13% - see Prev fault 1901030045-1
1901060008-1 | Kinshasa/Lusaka | ATS/DS | 06/01/2019 10:06 | 07/01/2019 10:46 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13% - see Prev fault 1901030045-1
1901280001-1 | Kigali/Jhb | AFTN | 28/01/2019 03:43 | 28/01/2019 03:43 | 100% | No Fault Found upon investigation
1901290016-1 | Beira/Dar Es Salaam | ATS/DS | 29/01/2019 07:37 | 29/01/2019 07:41 | 100% | No Fault Found upon investigation
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1901030045-1 | Kinshasa/Bujumbura | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Dar Es Salaam | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Kigali | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Entebbe | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Khartoum | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Luanda | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Jhb | AFTN | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Brazzaville | ATS/DS | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901030045-1 | Kinshasa/Brazzaville | AFTN | 03/01/2018 16:49 | 31/01/2018 16:59 | 13% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13%
1901150040-1 | Maputo/Beira | ATS/DS | 15/01/2019 18:07 | 16/01/2019 12:00 | 99.2% | RF switches stuck and could not move manually - replaced
1901150040-1 | Maputo/Harare | ATS/DS | 15/01/2019 18:07 | 16/01/2019 12:00 | 99.2% | RF switches stuck and could not move manually - replaced
1901150040-1 | Maputo/Jhb | ATS/DS | 15/01/2019 18:07 | 16/01/2019 12:00 | 99.2% | RF switches stuck and could not move manually - replaced
1901150040-1 | Maputo/Manzini | ATS/DS | 15/01/2019 18:07 | 16/01/2019 12:00 | 99.2% | RF switches stuck and could not move manually - replaced
1901150040-1 | Maputo/Jhb | AFTN | 15/01/2019 18:07 | 16/01/2019 12:00 | 99.2% | RF switches stuck and could not move manually - replaced