## Availability (July2016)
Summary of System/Circuit outages (July2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1607130010-1 | Gaborone | System | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607150032-1 | Gaborone | System | 15/7/2016 12:21 | 15/7/2016 14:30 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1607270016-1 | Maputo | MEMOTEC | 27/07/2016 07:58 | 27/07/2016 22:00 | 97.98% | MEMOTEC faulty after lightning - Replaced and restored services - Logistical delay - flight only available in the afternoon
1607030012-1 | Kinshasa | AFTN | 2016-03-07 15:19 | 2016-03-07 15:26 | 99.99% | Reset MEMOTEC in Kinshasa
1607030015-1 | Maseru | AFTN | 2016-03-07 17:37 | 2016-03-07 17:45 | 99.99% | External - restarted AFTN PC in Maseru
1607060033-1 | Bujumbura | Rf Switch | 2016-06-07 15:45 | 2016-06-07 15:55 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1607080026-1 | Lilongwe/Lusaka | ATS/DS | 2016-08-07 12:49 | 2016-08-07 12:51 | 100% | External - Lusaka VCCS - VSAT tested 100%
1607110044-1 | Harare/Lusaka | ATS/DS | 2016-11-07 10:55 | 2016-11-07 11:30 | 99.95% | Lusaka VCCS - see previous fault - VSAT tested 100%
1607110049-1 | Gaborone/Windhoek | ATS/DS | 2016-11-07 12:04 | 2016-11-07 12:06 | 100% | RITE II blocking calls in Gaborone. Disconnected.
1607120017-1 | Beira/Lusaka | ATS/DS | 2016-12-07 09:40 | 2016-12-07 09:49 | 99.85% | Reset MEMOTEC on both sides
1607130020-1 | Harare/Lusaka | ATS/DS | 13/07/2016 09:13 | 13/07/2016 09:21 | 99.85% | Lusaka RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1607240006-1 | Gaborone/Jhb | ATS/DS | 24/07/2016 02:00 | 24/07/2016 02:09 | 99.99% | Reset MEMOTEC in Gaborone
1607280013-1 | Dar Es Salaam/Lusaka | ATS/DS | 28/07/2016 07:37 | 28/07/2016 09:26 | 99.73% | External - VCCS in Lusaka
1607280022-1 | Lilongwe/Lusaka | ATS/DS | 28/07/2016 10:51 | 28/07/2016 10:54 | 99.99% | External - VCCS in Lusaka - see previous fault
1607290030-1 | Gaborone | RFT 1 | 29/07/2016 10:12 | 29/07/2016 10:20 | 100% | RFT replaced with upgrade - no effect on service
1607290030-2 | Gaborone | RFT 2 | 29/07/2016 10:22 | 29/07/2016 10:35 | 100% | RFT replaced with upgrade - no effect on service
1607240009-1 | Antana/Jhb | AFTN | 24/07/2016 09:30 | 24/07/2016 11:04 | 100% | AFISNET fault not SADC
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1607130010-1 | Gaborone/Jhb | ATS/DS | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607130010-1 | Gaborone/Harare | ATS/DS | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607130010-1 | Gaborone/Luanda | ATS/DS | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607130010-1 | Gaborone/Lusaka | ATS/DS | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607130010-1 | Gaborone/Windhoek | ATS/DS | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607130010-1 | Gaborone/Jhb | AFTN | 11/7/2016 23:00:00 PM | 2016-12-07 06:07 | 98.92% | Switched off due to upgrade - Antenna refurbishment and equipment relocation
1607270016-1 | Maputo/Beira | ATS/DS | 27/07/2016 07:58 | 28/07/2016 09:56 | 97.98% | MEMOTEC faulty after lightning - Replaced and restored services - Logistical delay - flight only available in the afternoon
1607270016-1 | Maputo/Harare | ATS/DS | 27/07/2016 07:58 | 28/07/2016 09:56 | 97.98% | MEMOTEC faulty after lightning - Replaced and restored services - Logistical delay - flight only available in the afternoon
1607270016-1 | Maputo/Jhb | ATS/DS | 27/07/2016 07:58 | 28/07/2016 09:56 | 97.98% | MEMOTEC faulty after lightning - Replaced and restored services - Logistical delay - flight only available in the afternoon
1607270016-1 | Maputo/Manzini | ATS/DS | 27/07/2016 07:58 | 28/07/2016 09:56 | 97.98% | MEMOTEC faulty after lightning - Replaced and restored services - Logistical delay - flight only available in the afternoon
1607270016-1 | Maputo/Jhb | AFTN | 27/07/2016 07:58 | 28/07/2016 09:56 | 97.98% | MEMOTEC faulty after lightning - Replaced and restored services - Logistical delay - flight only available in the afternoon
1607030012-1 | Kinshasa | AFTN | 2016-03-07 15:19 | 2016-03-07 15:26 | 99.99% | Reset MEMOTEC in Kinshasa
1607030015-1 | Maseru | AFTN | 2016-03-07 17:37 | 2016-03-07 17:45 | 99.99% | External - restarted AFTN PC in Maseru
1607110044-1 | Harare/Lusaka | ATS/DS | 2016-11-07 10:55 | 2016-11-07 11:30 | 99.95% | Lusaka VCCS - see previous fault - VSAT tested 100%
1607120017-1 | Beira/Lusaka | ATS/DS | 2016-12-07 09:40 | 2016-12-07 09:49 | 99.85% | Reset MEMOTEC on both sides
1607130020-1 | Harare/Lusaka | ATS/DS | 13/07/2016 09:13 | 13/07/2016 09:21 | 99.85% | Lusaka RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1607240006-1 | Gaborone/Jhb | ATS/DS | 24/07/2016 02:00 | 24/07/2016 02:09 | 99.99% | Reset MEMOTEC in Gaborone
1607280013-1 | Dar Es Salaam/Lusaka | ATS/DS | 28/07/2016 07:37 | 28/07/2016 09:26 | 99.73% | External - VCCS in Lusaka
1607280022-1 | Lilongwe/Lusaka | ATS/DS | 28/07/2016 10:51 | 28/07/2016 10:54 | 99.99% | External - VCCS in Lusaka - see previous fault