## Availability (July2017)
Summary of System/Circuit outages (July2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1707030154-1 | Luanda | System | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira | System | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1707010014-1 | Maseru/Jhb | AFTN | 01/07/2017 20:50 | 01/07/2017 20:55 | 100% | No Fault Found upon investigation
1707030153-1 | Jhb/Luanda | AFTN | 01/07/2017 05:18 | 01/07/2017 05:18 | 100% | No Fault Found upon investigation
1707080021-1 | Antana/Beira | ATS/DS | 08/07/2017 15:46 | 08/07/2017 15:59 | 99.95% | Configuration on FAD in Beira corrected
1707140048-1 | Gaborone/Jhb | ATS/DS | 14/07/2017 15:55 | 14/07/2017 16:36 | 99.89% | External - VCCS in Gaborone-restored
1707180037-1 | Jhb/Maputo | ATS/DS | 18/07/2017 13:58 | 18/07/2017 14:19 | 100% | No Fault Found upon investigation
1707270048-1 | Jhb/Luanda | ATS/DS | 27/07/2017 16:21 | 27/07/2017 16:24 | 99.85% | Quad FXS failed - reconfigured services to other ports and some to old network
1707280036-1 | Dar Es Salaam/Nairobi | AFTN | 28/07/2017 14:42 | 28/07/2017 14:45 | 99.85% | see fault 1707280028-1 on NAFISAT - Nairobi IDU5000 causing interferance - restored
1707280037-1 | Dar Es Salaam/Nairobi | ATS/DS | 28/07/2017 20:09 | 28/07/2017 20:10 | 100% | see fault 1707280028-1 on NAFISAT - Nairobi IDU5000 causing interferance - restored
1707310026-1 | Luanda/Accra | ATS/DS | 31/07/2017 06:55 | 01/07/2017 10:01 | 100% | No Fault Found upon investigation
1707310046-1 | Jhb/Kinshasa | AFTN | 30/07/2017 12:18 | 30/07/2017 12:18 | 99.85% | External - AMHS problem in Luanda
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1707030154-1 | Luanda/Accra | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Abijan | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Dakar | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Brazzaville | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Gaborone | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Lusaka | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Kinshasa | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Jhb | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Windhoek | ATS/DS | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Jhb | AFTN | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707030154-1 | Luanda/Brazzaville | AFTN | 03/07/2017 05:24 | 03/07/2017 07:45 | 99.73% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Antana | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Dar Es Salaam | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Harare | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Jhb | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Lilongwe | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Lusaka | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Maputo | ATS/DS | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707240033-1 | Beira/Jhb | AFTN | 24/07/2017 09:26 | 24/07/2017 09:46 | 99.95% | IDU not locking-RF Switch stuck - restored
1707080021-1 | Antana/Beira | ATS/DS | 08/07/2017 15:46 | 08/07/2017 15:59 | 99.95% | Configuration on FAD in Beira corrected
1707140048-1 | Gaborone/Jhb | ATS/DS | 14/07/2017 15:55 | 14/07/2017 16:36 | 99.89% | External - VCCS in Gaborone-restored
1707270048-1 | Jhb/Luanda | ATS/DS | 27/07/2017 16:21 | 27/07/2017 16:24 | 99.85% | Quad FXS failed - reconfigured services to other ports and some to old network
1707280036-1 | Dar Es Salaam/Nairobi | AFTN | 28/07/2017 14:42 | 28/07/2017 14:45 | 99.85% | see fault 1707280028-1 on NAFISAT - Nairobi IDU5000 causing interferance - restored
1707310046-1 | Jhb/Kinshasa | AFTN | 30/07/2017 12:18 | 30/07/2017 12:18 | 99.85% | External - AMHS problem in Luanda