## Availability (Jul2018)
Summary of System/Circuit outages (Jul2018)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1807040028-1 | Dar Es Salaam | System | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807170040-1 | Maseru | RF Switch | 17/07/2018 15:57 | 17/07/2018 15:59 | 99.85% | Install RF Switch
1807180031-1 | Maputo | RF Switch | 18/07/2018 11:00 | 18/07/2018 11:03 | 99.99% | RF Switch stuck needs replacement
1807180032-1 | Kinshasa | System | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807190023-1 | Maseru | System | 19/07/2018 11:59 | 19/07/2018 12:39 | 99.85% | Preventative maintenance
1807240032-1 | Lilongwe | IDU | 24/07/2018 14:45 | 24/07/2018 14:48 | 99.99% | IDU configuration Set
1807310027-1 | harare | System | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1807040013-1 | Maputo/Jhb | AFTN | 04/07/2018 05:38 | 04/07/2018 09:27 | 100% | No Fault Found upon investigation
1807040048-1 | Dar Es Salaam/Lusaka | ATS/DS | 04/07/2018 13:52 | 04/07/2018 14:00 | 99.85% | Refer to the previous fault log un 1807040028-1 PM
1807050022-1 | Kigali/Jhb | AFTN | 05/07/2018 08:02 | 05/07/2018 09:08 | 99.85% | External reset AFTN port in Kigali
1807090067-1 | Harare/Lusaka | ATS/DS | 09/07/2018 20:28 | 09/07/2018 21:31 | 99.85% | External Vccs System in Lusaka reset
1807170010-1 | Maseru/Jhb | AFTN | 17/07/2018 07:06 | 17/07/2018 07:39 | 100% | No Fault Found upon investigation
1807180022-1 | Kigali/Jhb | AFTN | 18/07/2018 08:33 | 18/07/2018 08:37 | 99.99% | External relocated cable in Kigali to port B
1807210020-1 | Maseru/Jhb | AFTN | 21/07/2018 09:17 | 21/072018 09:39 | 99.96% | External - IAT PC was reset - VSAT 100%
1807210025-1 | Dar Es Salaam/Jhb | AFTN | 21/07/2018 12:50 | 21/07/2018 13:03 | 99.95% | External - AMHS in Dar under maintenance - Edna - VSAT 100%
1807240035-1 | Lilongwe | ATS/DS | 24/07/2018 15:33 | 24/07/2018 15:35 | 99.99% | Refer to un 1807240032-1
1807250007-1 | Dar Es Salaam | ATS/DS | 25/07/2018 07:38 | 25/07/2018 07:45 | 99.99% | Lilongwe system being tested
1807270018-1 | Harare | Rf Switch/FXS card | 27/07/2017 10:28 | 27/07/2018 10:30 | 99.99% | RF Switch and FXS cards replaced
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1807240032-1 | Lilongwe/Beira | ATS/DS | 24/07/2018 14:45 | 24/07/2018 14:48 | 99.99% | IDU configuration Set
1807240032-1 | Lilongwe/Dar Es Salaam | ATS/DS | 24/07/2018 14:45 | 24/07/2018 14:48 | 99.99% | IDU configuration Set
1807240032-1 | Lilongwe/Lusaka | ATS/DS | 24/07/2018 14:45 | 24/07/2018 14:48 | 99.99% | IDU configuration Set
1807240032-1 | Lilongwe/Harare | ATS/DS | 24/07/2018 14:45 | 24/07/2018 14:48 | 99.99% | IDU configuration Set
1807240032-1 | Lilongwe/Jhb | AFTN | 24/07/2018 14:45 | 24/07/2018 14:48 | 99.99% | IDU configuration Set
1807040028-1 | Dar Es Salaam/Beira | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Bujumbura | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Antananarivo | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Entebbe | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Kigali | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Kinshasa | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Lilongwe | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Lusaka | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Nairobi | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Victoria | ATS/DS | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Jhb | AFTN | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807040028-1 | Dar Es Salaam/Nairobi | AFTN | 04/07/2018 11:18 | 04/07/2018 12:03 | 99.85% | Preventative maintenance
1807170040-1 | Maseru/Jhb | ATS/DS | 17/07/2018 15:57 | 17/07/2018 15:59 | 99.85% | Install RF Switch
1807170040-1 | Maseru/Jhb | AFTN | 17/07/2018 15:57 | 17/07/2018 15:59 | 99.85% | Install RF Switch
1807180032-1 | Kinshasa/Bujumbura | ATS/DS | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180032-1 | Kinshasa/Dar Es Salaam | ATS/DS | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180032-1 | Kinshasa/Kigali | ATS/DS | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180032-1 | Kinshasa/Entebbe | ATS/DS | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180032-1 | Kinshasa/Khartoum | ATS/DS | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180032-1 | Kinshasa/Luanda | ATS/DS | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180032-1 | Kinshasa/Jhb | AFTN | 11/07/2018 11:05 | 11/07/2018 12:00 | 99.85% | Preventative maintenance
1807180031-1 | Maputo/Beira | ATS/DS | 18/07/2018 11:00 | 18/07/2018 11:03 | 99.99% | RF Switch stuck needs replacement
1807180031-1 | Maputo/Harare | ATS/DS | 18/07/2018 11:00 | 18/07/2018 11:03 | 99.99% | RF Switch stuck needs replacement
1807180031-1 | Maputo/Jhb | ATS/DS | 18/07/2018 11:00 | 18/07/2018 11:03 | 99.99% | RF Switch stuck needs replacement
1807180031-1 | Maputo/Manzini | ATS/DS | 18/07/2018 11:00 | 18/07/2018 11:03 | 99.99% | RF Switch stuck needs replacement
1807180031-1 | Maputo/Jhb | AFTN | 18/07/2018 11:00 | 18/07/2018 11:03 | 99.99% | RF Switch stuck needs replacement
1807310027-1 | Harare/Beira | ATS/DS | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807310027-1 | Harare/ Gaborone | ATS/DS | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807310027-1 | Harare/Jhb | ATS/DS | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807310027-1 | harare/Lilongwe | ATS/DS | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807310027-1 | Harare/Lusaka | ATS/DS | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807310027-1 | Harare/Maputo | ATS/DS | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807310027-1 | Harare/Jhb | AFTN | 31/07/2018 14:02 | 31/07/2018 14:32 | 99.93% | Preventative maintenance
1807040048-1 | Dar Es Salaam/Lusaka | ATS/DS | 04/07/2018 13:52 | 04/07/2018 14:00 | 99.85% | Refer to the previous fault log un 1807040028-1 PM
1807050022-1 | Kigali/Jhb | AFTN | 05/07/2018 08:02 | 05/07/2018 09:08 | 99.85% | External reset AFTN port in Kigali
1807090067-1 | Harare/Lusaka | ATS/DS | 09/07/2018 20:28 | 09/07/2018 21:31 | 99.85% | External Vccs System in Lusaka reset
1807180022-1 | Kigali/Jhb | AFTN | 18/07/2018 08:33 | 18/07/2018 08:37 | 99.99% | External relocated cable in Kigali to port B
1807210020-1 | Maseru/Jhb | AFTN | 21/07/2018 09:17 | 21/072018 09:39 | 99.96% | External - IAT PC was reset - VSAT 100%
1807210025-1 | Dar Es Salaam/Jhb | AFTN | 21/07/2018 12:50 | 21/07/2018 13:03 | 99.95% | External - AMHS in Dar under maintenance - Edna - VSAT 100%
1807240035-1 | Lilongwe | ATS/DS | 24/07/2018 15:33 | 24/07/2018 15:35 | 99.99% | Refer to un 1807240032-1
1807250007-1 | Dar Es Salaam | ATS/DS | 25/07/2018 07:38 | 25/07/2018 07:45 | 99.99% | Lilongwe system being tested
1807270018-1 | Harare | Rf Switch/FXS card | 27/07/2017 10:28 | 27/07/2018 10:30 | 99.99% | RF Switch and FXS cards replaced