## Availability (June2017)
Summary of System/Circuit outages (June2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1706070051-1 | Antananarivo | System | 07/06/2017 16:17 | 07/06/2017 17:23 | 99.85% | RF Switch stuck - restored
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1706030023-1 | Jhb/Plaisance | ATS/DS | 03/06/2017 14:08 | 03/06/2017 14:21 | 100% | Reset memotec in JHB - level improved - service not affected
1706080032-1 | Maputo/Manzini | ATS/DS | 08/06/2017 15:13 | 08/06/2017 15:14 | 100% | No Fault Found upon investigation
1706220062-1 | Jhb/Lilongwe | AFTN | 22/06/2017 18:43 | 22/06/2017 21:19 | 99.72% | Configuration on IDU in Gaborone corrected
1706280007-1 | Jhb/Botswana | ATS/DS | 28/06/2017 04:09 | 28/06/2017 04:10 | 99.99% | External - PABX in Gaborone
1706030182-1 | Antana/Dar Es Salaam | ATS/DS | 16/06/2017 09:30 | 16/06/2017 10:15 | 100% | FXS card to be cleared from customs in Antana - no affect on service as this service is on old network.
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1706070051-1 | Antananarivo/Beira | ATS/DS | 07/06/2017 16:17 | 07/06/2017 17:23 | 99.85% | RF Switch stuck - restored
1706070051-1 | Antananarivo/Dar Es Salaam | ATS/DS | 07/06/2017 16:17 | 07/06/2017 17:23 | 99.85% | RF Switch stuck - restored
1706070051-1 | Antananarivo/Jhb | ATS/DS | 07/06/2017 16:17 | 07/06/2017 17:23 | 99.85% | RF Switch stuck - restored
1706070051-1 | Antananarivo/Victoria | ATS/DS | 07/06/2017 16:17 | 07/06/2017 17:23 | 99.85% | RF Switch stuck - restored
1706070051-1 | Antananarivo/Jhb | AFTN | 07/06/2017 16:17 | 07/06/2017 17:23 | 99.85% | RF Switch stuck - restored
1706220062-1 | Jhb/Lilongwe | AFTN | 22/06/2017 18:43 | 22/06/2017 21:19 | 99.72% | Configuration on IDU in Lilongwe corrected
1706280007-1 | Jhb/Botswana | ATS/DS | 28/06/2017 04:09 | 28/06/2017 04:10 | 99.99% | External - PABX in Gaborone