## Availability (Nov2018)
Summary of System/Circuit outages (Nov2018)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1811210029-1 | SADC | System | 20/11/2018 10:02 | 21/11/2018 01:00 | 99.72% | Maintenance on configuration performed
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1811040013-1 | Jhb/Lilongwe | AFTN | 04/11/2018 10:17 | 04/11/2018 10:28 | 100% | No Fault Found upon investigation
1811040019-1 | Beira/Dar Es Salaam | ATS/DS | 04/11/2018 13:38 | 04/11/2018 13:48 | 100% | No Fault Found upon investigation
1811050085-1 | Dar Es Salaam/Nairobi | ATS/DS | 05/11/2018 13:25 | 05/11/2018 14:00 | 100% | No Fault Found upon investigation
1811070014-1 | Jhb/Windhoek | ATS/DS | 07/11/2018 07:49 | 07/11/2018 08:10 | 100% | No Fault Found upon investigation
1811100023-1 | Jhb/Maseru | AFTN | 10/11/2018 22:53 | 10/11/2018 23:00 | 99.99% | Reset FAD in Maseru
1811120001-1 | Jhb/Kigali | AFTN | 12/11/2018 01:00 | 12/11/2018 01:09 | 99.99% | External - NAMIP in Jhb was reset
1811190045-1 | Jhb/Maseru | ATS/DS | 19/11/2018 09:22 | 19/11/2018 13:32 | 99.83% | FXS card replaced
1811210013-1 | Jhb/Windhoek | ATS/DS | 21/11/2018 06:18 | 21/11/2018 06:28 | 99.99% | configuration download - see 1811210029-1
1811210015-1 | Kinshasa/Lusaka | ATS/DS | 21/11/2018 07:03 | 21/11/2018 07:33 | 99.93% | configuration download - see 1811210029-1
1811240008-1 | Jhb/Maputo | AFTN | 24/11/2018 08:21 | 24/11/2018 08:41 | 100% | No Fault Found upon investigation
1811300018-1 | Luanda/Accra | AFTN | 29/11/2018 17:03 | 29/11/2018 17:33 | 99.93% | Reset DATUM in Luanda and adjust levels
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1811100023-1 | Jhb/Maseru | AFTN | 10/11/2018 22:53 | 10/11/2018 23:00 | 99.99% | Reset FAD in Maseru
1811120001-1 | Jhb/Kigali | AFTN | 12/11/2018 01:00 | 12/11/2018 01:09 | 99.99% | External - NAMIP in Jhb was reset
1811190045-1 | Jhb/Maseru | ATS/DS | 19/11/2018 09:22 | 19/11/2018 13:32 | 99.83% | FXS card replaced
1811210013-1 | Jhb/Windhoek | ATS/DS | 21/11/2018 06:18 | 21/11/2018 06:28 | 99.99% | configuration download - see 1811210029-1
1811210015-1 | Kinshasa/Lusaka | ATS/DS | 21/11/2018 07:03 | 21/11/2018 07:33 | 99.93% | configuration download - see 1811210029-1
1811300018-1 | Luanda/Accra | AFTN | 29/11/2018 17:03 | 29/11/2018 17:33 | 99.93% | Reset DATUM in Luanda and adjust levels
1811230035-1 | Victoria/ Plaisance/Mogadishu | ATS/DS | 23/11/2018 16:26 | 24/11/2018 17:26 | 98.5% | Replaced FAD and FXS cards in Victoria
1811210029-1 | SADC | ATS/DS & AFTN | 20/11/2018 10:02 | 21/11/2018 01:00 | 99.72% | Maintenance on configuration performed