## Availability (Oct2016)
Summary of System/Circuit outages (Oct2016)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1610040026-1 | Addis | System | 04/10/2016 13:44 | 04/10/2016 14:47 | 100% | No upgrade was done
1610120014-1 | Djibouti | System | 12/10/2016 06:14 | 12/10/2016 16:00 | 100% | Upgrade in progress
1610170055-1 | Djibouti | System | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610120015-1 | Khartoum | System | 12/10/2016 06:17 | 12/10/2016 16:00 | 100% | Upgrade in progress
1610170057-1 | Khartoum | System | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 31/01/2013 | 100% | NMS Statistical software- No affect on service
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member- RFT u/s need to replace
1506110040-1 | Entebbe MMC | UPS | 11/06/2015 15:04 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1506050043-1 | Entebbe | UPS | 05/06/2015 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1606280038-1 | Entebbe | RF Switch | 28/06/2016 10:57 | 26/06/2016 | 100% | RF Switch needs replacement - no effect on services
1606280038-4 | Entebbe | RF Switch | 28/06/2016 10:57 | 28/06/2016 | 100% | RF Switch needs replacement - no effect on services
1610090021-1 | Victoria | IDU | 09/10/2016 19:16 | 09/10/2016 19:29 | 100% | Reset IDU no effect on services
1610210022-1 | Djibouti | ATS/DS | 21/10/2016 09:48 | 21/10/2016 10:01 | 99.99% | External - VCCS in Djibouti
1610220011-1 | Addis | IDU | 22/10/2016 09:18 | 22/10/2016 09:20 | 100% | Reset IDU no effect on services
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1610170055-1 | Djibouti/Addis | ATS/DS | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610170055-1 | Djibouti/Asmara | ATS/DS | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610170055-1 | Djibouti/Mogadishu | ATS/DS | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610170055-1 | Djibouti/Sanaá | ATS/DS | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610170055-1 | Djibouti/Addis | AFTN | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610170055-1 | Djibouti/Nairobi | AFTN | 11/10/2016 12:02 | 14/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Addis | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Asmara | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Cairo | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Entebbe | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Jeddah | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Kinshasa | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Brazzaville | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/N'Djamena | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Nairobi | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Tripoli | ATS/DS | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Addis | AFTN | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Asmara | AFTN | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Cairo | AFTN | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/N'Djamena | AFTN | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/jeddah | AFTN | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance
1610170057-1 | Khartoum/Tripoli | AFTN | 11/10/2016 12:06 | 11/10/2016 16:00 | 99.85% | Preventative maintenance