## Availability (Oct2016)
Summary of System/Circuit outages (Oct2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1610170053-1 | Bujumbura | System | 11/10/2016 11:57 | 11/10/2016 16:00 | 99.85% | Preventative Maintenance
1610120016-1 | Bujumbura | System | 12/10/2016 06:20 | 12/10/2016 16:00 | 100% | System Upgrade
1610040031-1 | Plaisance | System | 04/10/2016 14:56 | 04/10/2016 14:57 | 98.3% | Preventative Maintenance and System upgrade
1610040042-1 | Windhoek | System | 04/10/2016 19:35 | 04/10/2016 19:37 | 99.85% | RF Chain failure - restored
1610260030-1 | Lilongwe | System | 26/10/2016 11:21 | 26/10/2016 14:42 | 99.85% | System Upgrade and preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1610070008-1 | Harare/Lusaka | ATS/DS | 07/10/2016 06:06 | 07/10/2016 06:15 | 100% | No fault found upon investigation
1610060035-1 | Jhb/Maseru | ATS/DS | 06/10/2016 11:00 | 06/10/2016 11:30 | 100% | No fault found upon investigation
1610080019-1 | Jhb/Windhoek | ATS/DS | 08/10/2016 14:43 | 08/10/2016 15:00 | 100% | No fault found upon investigation
1610090022-1 | Harare/Lusaka | ATS/DS | 09/10/2016 19:29 | 09/10/2016 19:47 | 99.85% | External - VCCS in Lusaka
1610100088-1 | Luanda | IDU | 10/10/2016 18:51 | 10/10/2016 19:00 | 100% | IDU needs replacement - no effect on services
1610200024-1 | Luanda/Brazzaville | ATS/DS | 20/10/2016 123:09 | 20/10/2016 12:15 | 99.33% | Reset DATUM modem
1610210015-1 | Dar EsSalaam/Kinshasa | ATS/DS | 21/10/2016 08:34 | 21/10/2016 08:50 | 99.85% | RF Chain changed
1610240045-1 | Lilongwe/Jhb | AFTN | 24/10/2016 11:13 | 24/10/2016 15:29 | 100% | External - RITE unit needs replacement - no effect on service
1610270031-1 | Maputo | RFT2 | 27/10/2016 10:09 | 27/10/2016 10:11 | 100% | RF Chain swaped - RFT1 suspect
1610280021-1 | Jhb/Gaborone | ATS/DS | 28/10/2016 06:03 | 28/10/2016 11:34 | 100% | External - PCUG in JHB suspect
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1610170053-1 | Bujumbura/Dar | ATS/DS | 11/10/2016 11:57 | 11/10/2016 16:00 | 99.85% | Preventative Maintenance
1610170053-1 | Bujumbura/Kigali | ATS/DS | 11/10/2016 11:57 | 11/10/2016 16:00 | 99.85% | Preventative Maintenance
1610170053-1 | Bujumbura/Kinshasa | ATS/DS | 11/10/2016 11:57 | 11/10/2016 16:00 | 99.85% | Preventative Maintenance
1610170053-1 | Bujumbura/Jhb | AFTN | 11/10/2016 11:57 | 11/10/2016 16:00 | 99.85% | Preventative Maintenance
1610040031-1 | Plaisance/Jhb | ATS/DS | 04/10/2016 14:56 | 04/10/2016 14:57 | 98.3% | Preventative Maintenance and System upgrade
1610040031-1 | Plaisance/Victoria | ATS/DS | 04/10/2016 14:56 | 04/10/2016 14:57 | 98.3% | Preventative Maintenance and System upgrade
1610040031-1 | Plaisance/Jhb | AFTN | 04/10/2016 14:56 | 04/10/2016 14:57 | 98.3% | Preventative Maintenance and System upgrade
1610040031-1 | Plaisance/Nairobi | AFTN | 04/10/2016 14:56 | 04/10/2016 14:57 | 98.3% | Preventative Maintenance and System upgrade
1610040042-1 | Windhoek/Gaborone | ATS/DS | 04/10/2016 19:35 | 04/10/2016 19:37 | 99.85% | RF Chain failure - restored
1610040042-1 | Windhoek/Jhb | ATS/DS | 04/10/2016 19:35 | 04/10/2016 19:37 | 99.85% | RF Chain failure - restored
1610040042-1 | Windhoek/Luanda | ATS/DS | 04/10/2016 19:35 | 04/10/2016 19:37 | 99.85% | RF Chain failure - restored
1610040042-1 | Windhoek/Lusaka | ATS/DS | 04/10/2016 19:35 | 04/10/2016 19:37 | 99.85% | RF Chain failure - restored
1610040042-1 | Windhoek/Jhb | AFTN | 04/10/2016 19:35 | 04/10/2016 19:37 | 99.85% | RF Chain failure - restored
1610260030-1 | Lilongwe/Beira | ATS/DS | 26/10/2016 11:21 | 26/10/2016 14:42 | 99.85% | System Upgrade and preventative maintenance
1610260030-1 | Lilongwe/Harae | ATS/DS | 26/10/2016 11:21 | 26/10/2016 14:42 | 99.85% | System Upgrade and preventative maintenance
1610260030-1 | Lilongwe/Dar | ATS/DS | 26/10/2016 11:21 | 26/10/2016 14:42 | 99.85% | System Upgrade and preventative maintenance
1610260030-1 | Lilongwe/Lusaka | ATS/DS | 26/10/2016 11:21 | 26/10/2016 14:42 | 99.85% | System Upgrade and preventative maintenance
1610260030-1 | Lilongwe/Jhb | AFTN | 26/10/2016 11:21 | 26/10/2016 14:42 | 99.85% | System Upgrade and preventative maintenance