## Availability (Sept2016)
Summary of System/Circuit outages (Sept2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1609050135-1 | Lusaka | System | 2016-05-09 17:55 | 2016-09-09 16:00 | 100% | Upgrade in progress
1609160023-1 | Lusaka | System | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609050136-1 | Beira | System | 2016-05-09 17:28 | 2016-09-09 16:00 | 100% | Upgrade in progress
1609160024-1 | Beira | System | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609070028-1 | Luanda | System | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609160026-1 | Maseru | System | 16/09/2016 08:20 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160027-1 | Windhoek | System | 16/09/2016 08:21 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609270024-1 | Plaisance | System | 27/09/2016 08:31 | 30/09/2016 14:54 | 99.85% | Upgrade in progress and Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1608040013-1 | Dar Es Salaam | ATS/DS | 2016-04-08 08:32 | 2016-04-08 08:41 | 99.85% | Voice intermittant - Reset Idu and MUX
1609020015-1 | Jhb/Maputo | ATS/DS | 2016-02-09 08:46 | 2016-02-09 09:00 | 99.99% | Voice soft - reset IDU
1609110003-1 | Jhb/Gaborone | ATS/DS | 2016-11-09 06:59 | 2016-11-09 07:15 | 99.95% | Reset MUX in Gabs
1609150014-1 | Jhb | FPS 2 | 2016-05-09 08:41 | 2016-05-09 11:47 | 100% | Parts replacement - no effect on service
1609150014-2 | Jhb | RFT2 | 2016-05-09 08:41 | 2016-05-09 12:50 | 100% | Parts replacement - no effect on service
1609200012-1 | Jhb/Windhoek | ATS/DS | 18/09/2016 07:27 | 20/09/2016 07:33 | 99.85% | voice channel intermittant - reset IDU in Windhoek
1609200016-1 | Jhb/Maputo | AFTN | 18/09/2016 07:48 | 20/09/2016 08:00 | 98.5% | External MOXA in Maputo faulty
1609240013-1 | Jhb/Luanda | ATS/DS | 23/09/2016 10:00 | 23/09/2016 10:21 | 100% | No fault found upon investigation
1609260051-1 | Luanda/Windhoek | ATS/DS | 26/09/2016 20:16 | 26/09/2016 21:09 | 99.85% | Reset IDU in Luanda
1609270016-1 | Gabs/Jhb | ATS/DS | 27/09/2016 08:17 | 27/09/2016 12:50 | 100% | No fault found upon investigation
1609290043-1 | Maseru | RFT2 | 29/09/2016 14:38 | 29/09/2016 14:40 | 100% | parts replaced during upgrade
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1609160023-1 | Lusaka/Beira | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Dar Es Salaam | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Gaborone | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Harare | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Kinshasa | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Luanda | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Windhoek | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Lilongwe | ATS/DS | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160023-1 | Lusaka/Jhb | AFTN | 22/08/2016 18:31 | 22/08/2016 18:33 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Antana | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Dar Es Salaam | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Jhb | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Harare | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Maputo | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Lilongwe | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Lusaka | ATS/DS | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160024-1 | Beira/Jhb | AFTN | 16/09/2016 08:18 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609070028-1 | Luanda/Gaborone | ATS/DS | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609070028-1 | Luanda/Jhb | ATS/DS | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609070028-1 | Luanda/Kinshasa | ATS/DS | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609070028-1 | Luanda/Windhoek | ATS/DS | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609070028-1 | Luanda/Lusaka | ATS/DS | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609070028-1 | Luanda/Jhb | AFTN | 2016-07-09 11:00 | 2016-07-09 13:12 | 99.69% | IDU PSU Failure- replaced PSU
1609160026-1 | Maseru/Jhb | ATS/DS | 16/09/2016 08:20 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160026-1 | Maseru/Jhb | System | 16/09/2016 08:20 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160027-1 | Windhoek/Gaborone | ATS/DS | 16/09/2016 08:21 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160027-1 | Windhoek/Jhb | ATS/DS | 16/09/2016 08:21 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160027-1 | Windhoek/Lusaka | ATS/DS | 16/09/2016 08:21 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160027-1 | Windhoek/Luanda | ATS/DS | 16/09/2016 08:21 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609160027-1 | Windhoek/Jhb | AFTN | 16/09/2016 08:21 | 16/09/2016 09:00 | 99.85% | Preventative Maintenance
1609270024-1 | Plaisance/Antana | ATS/DS | 27/09/2016 08:31 | 30/09/2016 14:54 | 99.85% | Upgrade in progress and Preventative maintenance
1609270024-1 | Plaisance/Victoria | ATS/DS | 27/09/2016 08:31 | 30/09/2016 14:54 | 99.85% | Upgrade in progress and Preventative maintenance
1609270024-1 | Plaisance/Jhb | AFTN | 27/09/2016 08:31 | 30/09/2016 14:54 | 99.85% | Upgrade in progress and Preventative maintenance
1609270024-1 | Plaisance/Nairobi | AFTN | 27/09/2016 08:31 | 30/09/2016 14:54 | 99.85% | Upgrade in progress and Preventative maintenance