## NAFISAT July 2024
Summary of System/Circuit outages (July 2024)
VSAT II NAFISAT SYSTEM (level 1 & 2)
MMS U NUMBER | Station | Network | StartDown | EndDown | Operational System Availability | Achieved System Availability | Comments
1905220029-1 | Tripoli | System | 1/05/2020 | 31/03/2024 | 0% | 0% | External - off due to political unrest
2009290008-1 | Sana'a | System | 01/07/2022 | 31/03/2024 | 100% | 100% | VPN solution implemented through Jhb - terminal still off
2304180065-1 | Khartoum | System | 18/04/2023 16:25 | 31/03/2024 | 100% | 100% | VPN solution implemented through Jhb - terminal still off
2404240022-1 | Entebbe | System | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2407220049-1 | Mogadishu | System | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2405300038-1 | Sanaa | System | 2024-05-30 16:45 | 2024-05-30 16:45 | 100% | 100% | Site not stable, IT investigate, monitoring
VSAT II NAFISAT Network (level 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
2310220019-1 | Addis/Djibouti | AFTN | 22/10/2023 15:17 | 22/10/2023 15:20 | 100% | 100% | External - Cable in Djibouti needs to be made up
2110020021-1 | Addis/Khartoum | AFTN | 02/10/2021 | 31/12/2023 | 0% | 0% | Khartoum Equipment U/S
2306120082-1 | Addis | feedhorn | 12/06/2023 15:54 | 12/06/2023 16:05 | 100% | 100% | Feedhorn cover needs replacement
2407150049-1 | Nairobi/Addis | AMHS | 2024-07-15 13:42 | 2024-07-15 14:49 | 99.98% | 99.98% | Nairobi IDU reset
2407210018-1 | Sanaa/Jeddah | AFTN | 2024-07-21 12:57 | 2024-07-22 07:00 | 97.57% | 97.57% | No Fault Found Upon investigation
2407210022-1 | Victoria/Nairobi | AMHS | 2024-07-21 15:19 | 2024-07-22 07:00 | 97.89% | 97.89% | No Fault Found Upon investigation - no fault on VSAT
2407280026-1 | Asmara/Jeddah | ATS/DS | 2024-07-28 19:54 | 2024-07-28 22:36 | 99.64% | 99.64% | External- Asmara corrected VCCS equipment
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
1905220029-1 | Tripoli/Cairo | ATS/DS | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Khartoum | ATS/DS | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/N'djamena | ATS/DS | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Niamey | ATS/DS | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Cairo | AFTN | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Khartoum | AFTN | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/N'djamena | AFTN | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Niamey | AFTN | 1/05/2019 | 31/03/2024 | 0% | 0% | External switched off due to political unrest
2304180065-1 | Khartoum/tripoli | ATS/DS | 18/04/2023 16:25 | 31/03/2024 | 0% | 0% | Off due to political unrest
2304180065-1 | Khartoum/Addis | AFTN | 18/04/2023 16:25 | 31/03/2024 | 0% | 0% | Off due to political unrest
2304180065-1 | Khartoum/Asmara | AFTN | 18/04/2023 16:25 | 31/03/2024 | 0% | 0% | Off due to political unrest
2304180065-1 | Khartoum/N'Djamena | AFTN | 18/04/2023 16:25 | 31/03/2024 | 0% | 0% | Off due to political unrest
2110020021-1 | Addis/Khartoum | AFTN | 02/10/2021 | 31/03/2024 | 0% | 0% | Khartoum Equipment U/S
2404240022-1 | Entebbe/Daressalaam | ATS/DS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2404240022-1 | Entebbe/Kigali | ATS/DS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2404240022-1 | Entebbe/Kinshasa | ATS/DS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2404240022-1 | Entebbe/Khrtoum | ATS/DS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2404240022-1 | Entebbe/Nairobi | ATS/DS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2404240022-1 | Entebbe/JHB | AMHS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2404240022-1 | Entebbe/Nairobi | AMHS | 2024-04-24 09:32 | 2024-04-24 10:00 | 99.94% | 99.94% | Entebbe feed horn cover dammaged, water in feed assembly - drained and stabilized
2407220049-1 | Mogadishu/Addis | ATS/DS | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2407220049-1 | Mogadishu/Djibouti | ATS/DS | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2407220049-1 | Mogadishu/Nairobi | ATS/DS | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2407220049-1 | Mogadishu/Sanaá | ATS/DS | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2407220049-1 | Mogadishu/Victoria | ATS/DS | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2407220049-1 | Mogadishu/Nairobi | AFTN | 2024-07-22 15:06 | 2024-07-22 15:25 | 99.96% | 99.96% | RF chain switched to redundant path - mismatch on chains - resolved, aligned chains
2407150049-1 | Nairobi/Addis | AMHS | 2024-07-15 13:42 | 2024-07-15 14:49 | 99.98% | 99.98% | Nairobi IDU reset
2407210018-1 | Sanaa/Jeddah | AFTN | 2024-07-21 12:57 | 2024-07-22 07:00 | 97.57% | 97.57% | No Fault Found Upon investigation
2407210022-1 | Victoria/Nairobi | AMHS | 2024-07-21 15:19 | 2024-07-22 07:00 | 97.89% | 97.89% | No Fault Found Upon investigation - no fault on VSAT
2407280026-1 | Asmara/Jeddah | ATS/DS | 2024-07-28 19:54 | 2024-07-28 22:36 | 99.64% | 99.64% | External- Asmara corrected VCCS equipment