## NAFISAT September 2024
Summary of System/Circuit outages
VSAT II NAFISAT SYSTEM (level 1 & 2)
MMS U NUMBER | Station | Network | StartDown | EndDown | Operational System Availability | Achieved System Availability | Comments
1905220029-1 | Tripoli | System | 1/05/2020 | 31/03/2024 | 0% | 0% | External - off due to political unrest
2009290008-1 | Sana'a | System | 01/07/2022 | 31/03/2024 | 100% | 100% | VPN solution implemented through Jhb - terminal still off
2304180065-1 | Khartoum | System | 18/04/2023 16:25 | 31/03/2024 | 100% | 100% | VPN solution implemented through Jhb - terminal still off
2405300038-1 | Sanaa | System | 2024-05-30 16:45 | 2024-05-30 16:45 | 100% | 100% | Site not stable, IT investigate, monitoring
VSAT II NAFISAT Network (level 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
2310220019-1 | Addis/Djibouti | AFTN | 22/10/2023 15:17 | 22/10/2023 15:20 | 100% | 100% | External - Cable in Djibouti needs to be made up
2110020021-1 | Addis/Khartoum | AFTN | 02/10/2021 | 31/12/2023 | 0% | 0% | Khartoum Equipment U/S
2306120082-1 | Addis | feedhorn | 12/06/2023 15:54 | 12/06/2023 16:05 | 100% | 100% | Feedhorn cover needs replacement
2409060046-1 | Nairobi/Mogadishu | AFTN | 06/09/2024 19:04 | 06/09/2024 20:22 | 99.96% | 99.96% | No Fault Found Upon investigation
2409160041-1 | Seyshells/JHB | AFTN | 16/09/2024 10:12 | 16/09/2024 10:12 | 100% | 100% | No Fault Found Upon investigation
2409190019-1 | Entebbe/Kinshasa | ATS/DS | 19/09/2024 09:08 | 19/09/2024 09:08 | 100% | 100% | Upon investigation reset FAD - link restored
2409240024-1 | Nairobi/Addis | AMHS | 24/09/2024 21:17 | 24/09/2024 21:25 | 99.94% | 99.94% | No Fault Found Upon investigation
2409260043-1 | Nairobi | RFT1 | 26/09/2024 16:27 | 26/09/2024 16:48 | 100% | 100% | Upon investigation found RFT 1 faulty- no potenometers ALARM
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
1905220029-1 | Tripoli/Cairo | ATS/DS | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Khartoum | ATS/DS | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/N'djamena | ATS/DS | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Niamey | ATS/DS | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Cairo | AFTN | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Khartoum | AFTN | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/N'djamena | AFTN | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
1905220029-1 | Tripoli/Niamey | AFTN | 1/05/2019 | 30/09/2024 | 0% | 0% | External switched off due to political unrest
2304180065-1 | Khartoum/tripoli | ATS/DS | 18/04/2023 16:25 | 30/09/2024 | 0% | 0% | Off due to political unrest
2304180065-1 | Khartoum/Addis | AFTN | 18/04/2023 16:25 | 30/09/2024 | 0% | 0% | Off due to political unrest
2304180065-1 | Khartoum/Asmara | AFTN | 18/04/2023 16:25 | 30/09/2024 | 0% | 0% | Off due to political unrest
2304180065-1 | Khartoum/N'Djamena | AFTN | 18/04/2023 16:25 | 30/09/2024 | 0% | 0% | Off due to political unrest
2110020021-1 | Addis/Khartoum | AFTN | 02/10/2021 | 30/09/2024 | 0% | 0% | Khartoum Equipment U/S
2409060046-1 | Nairobi/Mogadishu | AFTN | 06/09/2024 19:04 | 06/09/2024 20:22 | 99.96% | 99.96% | No Fault Found Upon investigation
2409240024-1 | Nairobi/Addis | AMHS | 24/09/2024 21:17 | 24/09/2024 21:25 | 99.94% | 99.94% | No Fault Found Upon investigation