## SADC January 2025
Summary of System/Circuit outages
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Operational System Availability | Achieved System Availability | Comments
2501230045-1 | Maseru | System | 2025-01-23 15:47 | 2025-01-23 15:53 | 99.99% | 99.99% | Preventative maintenance all tasks complete
2501260011-1 | Luanda | System | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
2501010008-1 | Maputo/JHB | ATS/DS | 2025-01-01 12:38 | 2025-01-01 10:23 | 100% | 100% | Upon investigation: Reset FAD port in Maputo
2501020024-1 | Lusaka | AFTN | 2025-01-02 16:40 | 2025-01-02 16:40 | 100% | 100% | External: Lusaka AFTN system fault
2501030023-1 | Luanda/JHB | ATS/DS | 2025-01-03 12:30 | 2025-01-03 13:59 | 99.8% | 99.8% | External: Luanda VCCS system fault
2501030031-1 | Gaberone/JHB | ATS/DS | 2501030031-1 | 2025-01-03 18:29 | 100% | 100% | External: Gaberone VCCS system fault
2501070053-1 | Luanda/JHB | AMHS | 2025-01-07 12:34 | 2025-01-07 12:34 | 100% | 100% | External: JHB AMHS system fault
2501070058-1 | Manzini/JHB | ATS/DS | 2025-01-07 13:10 | 2025-01-07 13:10 | 100% | 100% | Upon investigation: Fault self cleared
2501090001-1 | Gaberone/JHB | AMHS | 2025-01-08 00:01 | 2025-01-08 01:30 | 99.8% | 99.8% | Upon investigation: Reset IDU in Gaberone
2501080015-1 | Plaisance/JHB | AMHS | 2025-01-08 08:32 | 2025-01-08 08:32 | 100% | 100% | External: JHB AMHS system fault
2501080035-1 | Maputo/JHB | ATS/DS | 2025-01-08 21:07 | 2025-01-09 01:35 | 99.4% | 99.4% | Upon investigation: Reset FAD port in Maputo
2501090027-1 | Harare/Gaberone | ATS/DS | 2025-01-09 13:04 | 2025-01-09 13:18 | 99.97% | 99.97% | External: Gaberone VCCS system fault
2501100040-1 | Daressalaam/Lusaka | ATS/DS | 2025-01-10 22:21 | 2025-01-11 00:01 | 99.78% | 99.78% | Upon investigation: Fault self cleared
2501170045-1 | Lilongwe/Daressalaam | ATS/DS | 2025-01-17 18:07 | 2025-01-17 19:00 | 99.88% | 99.88% | External: Daresalaam VCCS system fault
2501180034-1 | Luanda | IDU/RCU | 2025-01-18 23:08 | 2025-01-19 00:48 | 99.78% | 99.78% | Upon investigation: Switched chains in Luanda
2501230054-1 | Luanda | IDU/RCU | 2025-01-23 22:59 | 2025-01-24 01:08 | 99.71% | 99.71% | Upon investigation: Switched chains in Luanda
2501310050-1 | Plaisance/Nairobi | AMHS | 2025-01-31 15:59 | 2025-01-31 18:35 | 99.65% | 99.65% | External: Nairobi AMHS system fault
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown |  | Achieved Circuit Availability | Comments
2501030023-1 | Luanda/JHB | ATS/DS | 2025-01-03 12:30 | 2025-01-03 13:59 | 99.8% | 99.8% | External: Luanda VCCS system fault
2501090001-1 | Gaberone/JHB | AMHS | 2025-01-08 00:01 | 2025-01-08 01:30 | 99.8% | 99.8% | Upon investigation: Reset IDU in Gaberone
2501080035-1 | Maputo/JHB | ATS/DS | 2025-01-08 21:07 | 2025-01-09 01:35 | 99.4% | 99.4% | Upon investigation: Reset FAD port in Maputo
2501090027-1 | Harare/Gaberone | ATS/DS | 2025-01-09 13:04 | 2025-01-09 13:18 | 99.97% | 99.97% | External: Gaberone VCCS system fault
2501100040-1 | Daressalaam/Lusaka | ATS/DS | 2025-01-10 22:21 | 2025-01-11 00:01 | 99.78% | 99.78% | Upon investigation: Fault self cleared
2501170045-1 | Lilongwe/Daressalaam | ATS/DS | 2025-01-17 18:07 | 2025-01-17 19:00 | 99.88% | 99.88% | External: Daresalaam VCCS system fault
2501180034-1 | Luanda | IDU/RCU | 2501180034-1 | 2025-01-19 00:48 | 99.78% | 99.78% | Upon investigation: Switched chains in Luanda
2501230045-1 | Maseru/JHB | ATS/DS | 2025-01-23 15:47 | 2025-01-23 15:53 | 99.99% | 99.99% | Preventative maintenance all tasks complete
2501230045-1 | Maseru/JHB | AFTN | 2025-01-23 15:47 | 2025-01-23 15:53 | 99.99% | 99.99% | Preventative maintenance all tasks complete
2501230054-1 | Luanda | IDU/RCU | 2025-01-23 22:59 | 2025-01-24 01:08 | 99.71% | 99.71% | Upon investigation: Switched chains in Luanda
2501260011-1 | Luanda/Gaberone | ATS/DS | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
2501260011-1 | Luanda/JHB | ATS/DS | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
2501260011-1 | Luanda/Kinshasa | ATS/DS | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
2501260011-1 | Luanda/Lusaka | ATS/DS | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
2501260011-1 | Luanda/Windhoek | ATS/DS | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
2501260011-1 | Luanda/JHB | AFTN | 2025-01-26 09:14 | 2025-01-26 09:21 | 99.98% | 99.98% | Upon investigation: Switch stuck, corrected chain poisition in Luanda
2501310050-1 | Plaisance/Nairobi | AMHS | 2025-01-31 15:59 | 2025-01-31 18:35 | 99.65% | 99.65% | External: Nairobi AMHS system fault