## SADC July 2024
Summary of System/Circuit outages (July 2024)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Operational System Availability | Achieved System Availability | Comments
2407170044-1 | Harare | System | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407210002-1 | Manzizni | System | 2024-07-21 06:18 | 2024-07-21 06:30 | 99.97% | 100% | Reported as sites down, after investigation, found only ATS line to JHB problamtic- Manzini VCCS fault
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
2407030032-1 | Gaberone | RFT | 2024-07-03 14:29 | current | 100% | 100% | RFT 2 indentified to faulty, needs to be replaced - no effect on services
2407040040-1 | Maputo/JHB | ATS/DS | 2024-07-04 18:21 | 2024-07-05 07:25 | 98.25% | 98.25% | No Fault Found Upon investigation
2407060042-1 | Lusaka/JHB | AMHS | 2024-07-06 15:32 | 2024-07-06 14:25 | 100% | 100% | External - AMHS in Lusaka port closed
2407090032-1 | Manzini/JHB | ATS/DS | 2024-07-09 13:10 | 2024-07-09 13:15 | 99.99% | 99.99% | Reset FAD port in Manzini
2407140006-1 | Plaisance/Nairobi | AMHS | 2024-07-14 08:04 | 2024-07-14 11:04 | 99.6% | 99.6% | Nairobi AMHS problamatic - restored in Nairobi
2407160031-1 | Manzini/JHB | AMHS | 2024-07-16 12:55 | 2024-07-17 07:14 | 100% | 100% | No Fault Found Upon investigation
2407210002-1 | Manzizni/JHB | ATS/DS | 2024-07-21 06:18 | 2024-07-21 06:30 | 99.97% | 99.97% | Reported as sites down, after investigation, found only ATS line to JHB problamtic- Manzini VCCS fault
2407230047-1 | Plaisance | RFT | 2024-07-23 14:04 | 2024-07-23 14:35 | 99.93% | 99.93% | RFT 1 indentified as causing the issues, site stable
2407280001-1 | Plaisance | IDU | 2024-07-28 05:40 | 2024-07-28 05:54 | 99.97% | 99.97% | No Fault Found Upon investigation
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown |  | Achieved Circuit Availability | Comments
2407170044-1 | Harare/Beira | ATS/DS | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407170044-1 | Harare/Gaborone | ATS/DS | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407170044-1 | Harare/Jhb | ATS/DS | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407170044-1 | Harare/Lilongwe | ATS/DS | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407170044-1 | Harare/Lusaka | ATS/DS | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407170044-1 | Harare/Jhb | AFTN | 2024-07-17 14:48 | 2024-07-17 16:00 | 99.84% | 99.84% | Preventative maintenance
2407040040-1 | Maputo/JHB | ATS/DS | 2024-07-04 18:21 | 2024-07-05 07:25 | 98.25% | 98.25% | No Fault Found Upon investigation
2407090032-1 | Manzini/JHB | ATS/DS | 2024-07-09 13:10 | 2024-07-09 13:15 | 99.99% | 99.99% | Reset FAD port in Manzini
2407140006-1 | Plaisance/Nairobi | AMHS | 2024-07-14 08:04 | 2024-07-14 11:04 | 99.6% | 99.6% | Nairobi AMHS problamatic - restored in Nairobi
2407210002-1 | Manzizni/JHB | ATS/DS | 2024-07-21 06:18 | 2024-07-21 06:30 | 99.97% | 99.97% | Reported as sites down, after investigation, found only ATS line to JHB problamtic- Manzini VCCS fault
2407230047-1 | Plaisance | RFT | 2024-07-23 14:04 | 2024-07-23 14:35 | 99.93% | 99.93% | RFT 1 indentified as causing the issues, site stable
2407280001-1 | Plaisance | IDU | 2024-07-28 05:40 | 2024-07-28 05:54 | 99.97% | 99.97% | No Fault Found Upon investigation