## SADC October 2024
Summary of System/Circuit outages
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Operational System Availability | Achieved System Availability | Comments
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
2410050010-1 | Plaisance/Nairobi | AMHS | 2024-10-05 09:29 | 2024-10-05 09:49 | 99.96% | 99.96% | External: Nairobi AMHS system fault
2410070001-1 | Plaisance/Nairobi | AMHS | 2024-10-07 05:50 | 2024-10-07 05:50 | 100% | 100% | Upon investigation: self cleared
2410080052-1 | Luanda/Brazzaville | AFTN | 2024-10-08 19:32 | 2024-10-08 19:11 | 99.96% | 99.96% | External: The issue was caused by loss of carrier from Brazzaville.
2410090036-1 | Plaisance/Nairobi | AMHS | 2024-10-09 11:34 | 2024-10-09 11:34 | 100% | 100% | External: Nairobi AMHS system fault
2410100018-1 | Maseru | LNB 1 | 2024-10-10 08:38 | 2024-10-10 08:45 | 100% | 100% | Upon investigation: LNB 1 found faulty
2410100044-1 | Kinshasa/JHB | AFTN | 2024-10-10 19:07 | 2024-10-10 19:39 | 99.93% | 99.93% | Upon investigation: reset IDU in Kinshasa
2410110005-1 | Plaisance/JHB | AMHS | 2024-10-11 06:07 | 2024-10-11 06:07 | 100% | 100% | Upon investigation: self cleared
2410130018-1 | Harare/JHB | ATS/DS | 2024-10-13 16:54 | 2024-10-13 17:10 | 99.96% | 99.96% | External: Harare VCCS system fault
2410140064-1 | Plaisance/JHB | ATS/DS | 2024-10-14 12:15 | 2024-10-14 13:27 | 99.83% | 99.83% | Upon investigation: reset IDU in Plaisance
2410170025-1 | Lusaka/Harare | ATS/DS | 2024-10-17 10:53 | 2024-10-17 10:53 | 100% | 100% | External: Harare VCCS system fault
2410180036-1 | Plaisance/JHB | AMHS | 2024-10-18 13:28 | 2024-10-18 13:28 | 100% | 100% | Upon investigation: self cleared
2410190031-1 | Plaisance/Nairobi | AMHS | 2024-10-19 16:12 | 2024-10-19 16:12 | 100% | 100% | Upon investigation: self cleared
2410230021-1 | Plaisance | PM | 2024-10-23 08:00 | 2024-10-23 08:30 | 99.93% | 99.93% | Preventative Maintenance
2410270004-1 | Plaisance/Nairobi | AMHS | 2024-10-27 07:58 | 2024-10-27 07:58 | 100% | 100% | External: Nairobi AMHS system fault
2410290034-1 | JHB/Gaberone | ATS/DS | 2024-10-29 11:11 | 2024-10-29 12:32 | 99.98% | 99.98% | External: Gaberone VCCS system fault
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown |  | Achieved Circuit Availability | Comments
2410050010-1 | Plaisance/Nairobi | AMHS | 2024-10-05 09:29 | 2024-10-05 09:49 | 99.96% | 99.96% | External: Nairobi AMHS system fault
2410080052-1 | Luanda/Brazzaville | AFTN | 2024-10-08 19:32 | 2024-10-08 19:11 | 99.96% | 99.96% | The issue was caused by loss of carrier from Brazzaville.
2410100044-1 | Kinshasa/JHB | AFTN | 2024-10-10 19:07 | 2024-10-10 19:39 | 99.93% | 99.93% | Upon investigation: reset IDU in Kinshasa
2410130018-1 | Harare/JHB | ATS/DS | 2024-10-13 16:54 | 2024-10-13 17:10 | 99.96% | 99.96% | External: Harare VCCS system fault
2410140064-1 | Plaisance/JHB | ATS/DS | 2024-10-14 12:15 | 2024-10-14 13:27 | 99.83% | 99.83% | Upon investigation: reset IDU in Plaisance
2410230021-1 | Plaisance | PM | 2024-10-23 08:00 | 2024-10-23 08:30 | 99.93% | 99.93% | Preventative Maintenance
2410290034-1 | JHB/Gaberone | ATS/DS | 2024-10-29 11:11 | 2024-10-29 12:32 | 99.98% | 99.98% | External: Gaberone VCCS system fault