## SADC November 2024
Summary of System/Circuit outages
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Operational System Availability | Achieved System Availability | Comments
2411190038-1 | Bujumbura | System | 19/11/2024 12:16 | 19/11/2024 12:26 | 99.98% | 99.98% | Preventative maintenance - UPS batteries replaced, PDU CCT breakers and lightning protector for ATS/DS replaced
2411290016-1 | Antanarivo | System | 2024-11-29 07:30 | 2024-11-29 07:30 | 100% | 100% | Preventative maintenance all tasks complete
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Operational Circuit Availability | Achieved Circuit Availability | Comments
2411050003-1 | Plaisance/JHB | ATS/DS | 05/11/2024 05:49 | 05/11/2024 05:49 | 100% | 100% | Upon investigation: self cleared
2411080038-1 | Gaberone | RFT2 | 08/11/2024 11:17 | 08/11/2024 11:17 | 100% | 100% | Redundant RFT activated and RFT 2 replaced - no service interuption
2411080038-2 | Gaberone | QFXS Card | 08/11/2024 11:17 | 08/11/2024 11:17 | 100% | 100% | Upon investigation found QFXS card faulty - Card replaced.
2411130022-1 | Plaisance/Nairobi | AMHS | 13/11/2024 07:49 | 13/11/2024 07:49 | 100% | 100% | Upon investigation: self cleared
2411150018-1 | Gaberone/Harare | ATS/DS | 15/11/2024 08:46 | 15/11/2024 08:46 | 100% | 100% | Upon investigation found Gaberone QFXS card faulty - Card replaced 2411080038
2411180021-1 | Kinshasa/JHB | AFTN/IP | 18/11/2024 06:28 | 18/11/2024 06:28 | 100% | 100% | Upon investigation reset IDU in Kinshasa - corrected fault
2411210012-1 | Gaberone/JHB | AMHS | 21/11/2024 08:02 | 21/11/2024 08:02 | 100% | 100% | Upon investigation reset IDU in Gaberone - AMHS messages flowing correctly
2411220011-1 | Plaisance/JHB | AMHS | 22/11/2024 07:50 | 22/11/2024 07:50 | 100% | 100% | Upon investigation: self cleared
2411230026-1 | Plaisance/Nairobi | AMHS | 23/11/2024 13:44 | 23/11/2024 13:44 | 100% | 100% | External: Plaisance advised their AMHS system cause fault
2411260032-1 | Plaisance/Nairobi | AMHS | 26/11/2024 11:37 | 26/11/2024 11:37 | 100% | 100% | External: Plaisance advised their AMHS system cause fault
2411290038-1 | Daresalaam/Lusaka | ATS/DS | 29/11/2024 20:18 | 29/11/2024 23:10 | 99.6% | 99.6% | External: Lusaka VCCS system caused fault
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown |  | Achieved Circuit Availability | Comments
2411190038-1 | Bujumbura/Dar Es Salaam | ATS/DS | 19/11/2024 12:16 | 19/11/2024 12:26 | 99.98% | 99.98% | Preventative maintenance - UPS batteries replaced, PDU CCT breakers and lightning protector for ATS/DS replaced
2411190038-1 | Bujumbura/Kigali | ATS/DS | 19/11/2024 12:16 | 19/11/2024 12:26 | 99.98% | 99.98% | Preventative maintenance - UPS batteries replaced, PDU CCT breakers and lightning protector for ATS/DS replaced
2411190038-1 | Bujumbura/Kinshasa | ATS/DS | 19/11/2024 12:16 | 19/11/2024 12:26 | 99.98% | 99.98% | Preventative maintenance - UPS batteries replaced, PDU CCT breakers and lightning protector for ATS/DS replaced
2411190038-1 | Bujumbura/Jhb | AFTN | 19/11/2024 12:16 | 19/11/2024 12:26 | 99.98% | 99.98% | Preventative maintenance - UPS batteries replaced, PDU CCT breakers and lightning protector for ATS/DS replaced
2411290038-1 | Daresalaam/Lusaka | ATS/DS | 29/11/2024 20:18 | 29/11/2024 23:10 | 99.6% | 99.6% | External: Lusaka VCCS system caused fault