**REQUEST FOR QUOTE (RFQ)**

**APPOINTMENT OF A SERVICE PROVIDER FOR THE PROVISION OF FENCE REPAIRS AND SITE REFURBISHMENT AT PORT ST JOHNS (PJV)**

|  |  |
| --- | --- |
| **Date:** | **08 August 2022** |
| **Department** | **FALE**  |
| **RFQ Number** | **ATNS/Port ST Johns/RFQ024/2022/23\_ (PVJ) FENCE REFURBISHMENT** |
| **Description of Goods/Service:** | Please see below on page 3 |
| **Closing Date and Time:** |  **17 August 2022 @ 13h00**  |
| **Expected delivery date** | **TBC to the appointed bidder.** |
| **Returnable Requirements:** | 1. B-BBEE Certificate
2. Tax Pin
3. CSD Report
4. Banking Details with bank stamp
5. ID copies of members/directors
6. CK Documents
7. Pricing Schedule/Quotation
8. Signed and completed SBD Forms
 |
| **Description** | **APPOINTMENT OF A SERVICE PROVIDER FOR THE PROVISION OF FENCE REPAIRS AND SITE REFURBISHMENT AT PORT ST JOHNS (PJV)**  |
| **Compulsory Briefing Session and Site Inspection** | **Date: 10 August 2022****Time: 12:00 to 13:00** **Address: Port St Johns****Umzimvubu River, 220 Kilometre (140 mi)**the GPS coordinates are below.[31°36'31.9"S 29°31'11.4"E](https://www.google.co.za/maps/place/31%C2%B036%2731.9%22S%2B29%C2%B031%2711.4%22E/%40-31.609346%2C29.519235%2C293m/data%3D%213m1%211e3%214m14%211m7%213m6%211s0x0%3A0x0%212zMjfCsDMzJzQzLjUiUyAzMcKwMTYnMjMuMSJF%213b1%218m2%213d-27.562077%214d31.273096%213m5%211s0x1e5efc2f9b8074c7%3A0xefc7a7337050d02b)**Contact Person for directions: Sinethemba****Contact No: 073 524 7743****The supplier who will be attending Briefing, please sent us an email to confirm your availability** **E-mail Address to: Olwethuf@atns.co.za,****NB.** We will meet the Suppliers at Port ST Johns town nearby museum at **10:00 am** then go to Site |
| **Quotation Delivery Address** | **Olwethuf@atns.co.za** |
| **Enquiries**  | **Procurement Specialist:** olwethuf@atns.co.za  |

|  |
| --- |
| **The ATNS requests your quotation on the goods and/or services listed hereunder and/or on the available RFQ forms. Please furnish all information as requested and return your quotation on the date stipulated. Late and incomplete / missing documentations will invalidate the quotation submitted. Suppliers which are not registered on the government central supplier database will not be considered. ATNS is not obliged to accept the lowest or any submission received. ATNS reserves the rights to accept the whole or any portion of a quotation.****This RFQ will be evaluated on the basis of the 80:20-point system as stipulated in the Preferential Procurement Policy Framework Act (Act number 5 of 2000) & the ATNS’ Procurement Policies and Procedures.** |

 **BIDDING STRUCTURE**

|  |
| --- |
| Indicate the type of Bidding/Biding Structure by marking with an ‘X’ |
| Individual Bidder  |  |
| Joint Venture  |  |
| Consortium  |  |
| With Sub-Contractors  |  |
| Other  |  |

|  |
| --- |
| If Individual:  |
| Name of Bidder  |  |
| Registration Number |  |
| VAT Registration Number |  |
| Contact Person  |  |
| Telephone Number  |  |
| Fax Number  |  |
| Cell Number(s) |  |
| E-mail Address  |  |
| Postal Address  |  |
| Physical Address  |  |

|  |
| --- |
| If Joint Venture or Consortium, indicate the name/s of the partners:  |
| Company Name  |  |
| Registration Number |  |
| VAT Registration Number |  |
| Contact Person  |  |
| Telephone Number  |  |
| E-mail Address  |  |
| Fax Number  |  |
| Postal Address  |  |
| Physical Address  |  |

|  |
| --- |
| **HAS AN VALID TAX CLEARANCE CERTIFICATE AND PIN BEEN SUBMITTED FOR CONSORTIUM, JOINT VENTURE AND/OR SUB CONTRACTORS** |
| **YES** | **NO** |
|  |  |

|  |
| --- |
| **PLEASE INDICATE THE TYPE OF YOUR COMPANY E.G. PRIVATE COMPANY OR CLOSED CORPORATION OR OTHER** |
| Indicate the Type of Company |  |

**SIGNATURE OF BIDDER:**

………………………………………………………… DATE: ……………………

…………………………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:

1. **SCOPE OF WORK**

**APPOINTMENT OF A SERVICE PROVIDER FOR THE PROVISION OF FENCE REPAIRS AND SITE REFURBISHMENT AT PORT ST JOHNS (PJV)**

1. **SCOPE OF WORK**

ATNS invites suitable suppliers to submit quotations for the provision of Fence Replacement at Port St Johns (PJV)

|  |  |  |
| --- | --- | --- |
| **Item**  | **quantity** | **Description** |
| Barb Wire | 104-meter x 2,2 meters height | Replace rusted barb wire around the fence (galvanised) |
| Anti-Rust treatment of the fence | 104-meter x 2,2 meters height | Rust treatment all around (104-meter x 2,2 meters height) |
| Painting of Antennas | 50 | VOR fibre glass Antennas to be prepared and paint with white  |
| Water proofing of container | 1 | Container measurement (3.1 m x 4.2m) height 2.6m |
| Painting of Container | 1 | Container measurement (3.1 m x 4.2m) height 2.6m cplpur (signal red and cloud white) |
| Concrete Slab around the fence  | 2m  | 2m width around the exterior of the fence  |
| Rust Treatment on Container stands(legs) | 4 | Rust Treatment (prepare and paint) |

The attachment Picture:



NB: Sizes and measurements will be taken and confirmed during briefing and the site inspection.

Technical Specifications

* Corrosion repair
* Seal container
* Waterproofing
* Painting with Cloud White & Signal Red as per Annexure A
* Please note: **Safety File is required**

**NB:Annexure A has been attached separately, supply to go through the ICAO Specifications as that will guide them as to how the services is to be completed.**

Please ensure that your staff that will be attending the site inspection is to have the following listed items:

* Reflector jackets
* Original  ID book / Driver’s Licence
* Safety shoes
* **The First stage**, bids will be evaluated first for **Pre-Qualification Criteria (Preferential Procurement Requirements)** prescribed in Preferential Procurement Regulations. Only bids that meet Preferential Procurement requirements will be considered for further evaluation.
* **Preferential Procurement Reform:**

**The Preferential Procurement Regulations, 2017 pertaining to the Preferential Procurement Policy Framework Act, Act No 5 of 2017.**

* Preferential Procurement in ATNS will be implemented in line with the PPPFA and its amended Regulations. Where feasible, pre-qualification criteria for preferential procurement or subcontracting will be set to advance certain designated groups which are EMEs or QSEs which are at least 51% black owned (in line with the PPPFA). Where not feasible to set preferential procurement as a pre-qualification criteria ATNS shall evaluate suppliers in accordance with the B-BBEE Codes of Good Practice.
* **The Second stage**, Bids will be evaluated for **Mandatory Technical Requirements.** During this stage, Tender response documentation will be evaluated against compliance to the Mandatory documents required. Failure to submit Mandatory documents will result in disqualification.

**MANDATORY REQUIREMENTS**

|  |  |
| --- | --- |
| **Mandatory Requirement** | **Proof Required** |
| * CIDB Grading
 | **1SQ** |
| * Provide a minimum of three (3) reference letters as proof of Previous similar work done before that is similar to the ATNS scope of work done before.

Reference letters must be in a form of signed letters on a client’s business letterhead stating the scope and description of the services rendered, contract duration, with contact name, Contact number and position of the referee. Reference letters must not be older than three (3) years by closing date of this RFQ. | **YES** |

* **The Third stage**, bids will be evaluated in terms of the **80/20** **preference point systems.** Only bids that provide all documentation requested for **Technical Mandatory Requirements** will be evaluated in accordance with the **80/20** preference point system.

**ANNEXTURE B – COSTING TABLE**

The pricing must be inclusive of VAT

**QUOTATIONS PROVIDED MUST HAVE THE FOLLOWING INFORMATION IN TABLE FORM BUT MUST USE THEIR COMPANY LETTERHEAD**

|  |  |  |  |
| --- | --- | --- | --- |
| Items Description | Quantity | Unit Price | Total Price |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  | **Sub-Total** |  |
| **VAT @15%** |  |
| **VAT Incl.** |  |

* All Prices must be quoted in South African Rand, exclusive of VAT
* To facilitate like-for-like comparison, bidders must submit pricing strictly in accordance with this price schedule and not utilize a different format. Deviation from this pricing schedule will result in a bid being disqualified.

**NB: The pricing schedule must be fully completed (100%) and submitted. Failure to comply with this instruction will result in the bid being disqualified.**

Stage 4- Price/B-BBEE Evaluation

* Tenderers will be evaluated in terms of the 80/20 preference point system, where a maximum of 80 points are allocated for price and a maximum of 20 points are allocated in respect of the level of B-BBEE contribution of the Tenderer.
* Points are allocated in terms of the BBBEE Codes of Good Practice guideline as indicated in the table below. Bidders must submit valid BBBEE Certificates which will be verified.
	+ - Quotations will be evaluated in terms of Preferential Procurement Policy Framework Act using the 80:20 points system. 80 points will be awarded for price and 20 points for BEE points claimed.

|  |  |
| --- | --- |
| **Points for price** | **80** |
| **Points for B-BBEE (Max of 20):** | 20 |
| **B-BBEE status Level of Contributor** | **Number of Points****(80/20 system)** |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-Compliant contributor | 0 |

1. **SUBMISSION INSTRUCTIONS:**
	* 1. Potential service providers are requested to provide a quotation that addresses all the items listed in the specification section as stated above.
		2. Failing to comply with the instruction will lead to bids being disqualified.
		3. **Each quotation should also include the following information:**
2. The expiration date for the Quotation, if any.
3. Details of the contact person dealing with the quotation.
4. CSD Summary Report.
5. Black Economic Empowerment status of the service provider or legal identity of BEE partner as well as the physical and postal address of the BEE partner and capital structure.
	1. **SUBMISSION OF QUOTATION:**
		1. **The RFQ Documents shall be delivered to the below:**

**Olwethu Fakude**

**Procurement Specialist**

**olwethuf@atns.co.za**

**No later than 17 August 2022 @13h00**

**PART A**

**INVITATION TO BID**

|  |
| --- |
| **YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (***NAME OF DEPARTMENT/ PUBLIC ENTITY***)** |
| BID NUMBER: |  | CLOSING DATE: |  | CLOSING TIME: |  |
| DESCRIPTION |  |
| **BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT *(STREET ADDRESS)*** |
|  |
|  |
|  |
|  |
| **BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO** | **TECHNICAL ENQUIRIES MAY BE DIRECTED TO:** |
| CONTACT PERSON |  | CONTACT PERSON |  |
| TELEPHONE NUMBER |  | TELEPHONE NUMBER |  |
| FACSIMILE NUMBER |  | FACSIMILE NUMBER |  |
| E-MAIL ADDRESS |  | E-MAIL ADDRESS |  |
| **SUPPLIER INFORMATION** |
| NAME OF BIDDER |  |
| POSTAL ADDRESS |  |
| STREET ADDRESS |  |
| TELEPHONE NUMBER | CODE |  | NUMBER |  |
| CELLPHONE NUMBER |  |
| FACSIMILE NUMBER | CODE |  | NUMBER |  |
| E-MAIL ADDRESS |  |
| VAT REGISTRATION NUMBER |  |
| SUPPLIER COMPLIANCE STATUS | TAX COMPLIANCE SYSTEM PIN: |  | **OR** | CENTRAL SUPPLIER DATABASE No:  | MAAA |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE | TICK APPLICABLE BOX][ ]  Yes [ ]  No | B-BBEE STATUS LEVEL SWORN AFFIDAVIT  | [TICK APPLICABLE BOX][ ]  Yes [ ]  No |
| ***[A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/ SWORN AFFIDAVIT (FOR EMES & QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE]*** |
| * + - 1. *ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED?*
 | [ ] Yes [ ] No [IF YES ENCLOSE PROOF] | * + - 1. *ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED?*
 | [ ] Yes [ ] No[IF YES, ANSWER THE QUESTIONNAIRE BELOW ] |
| **QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS** |
| IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? [ ]  YES [ ]  NODOES THE ENTITY HAVE A BRANCH IN THE RSA? [ ]  YES [ ]  NODOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? [ ]  YES [ ]  NODOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? [ ]  YES [ ]  NOIS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? [ ]  YES [ ]  NO **IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW.**  |

**PART B**

**TERMS AND CONDITIONS FOR BIDDING**

|  |
| --- |
| 1. **BID SUBMISSION:**
 |
| * 1. BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION.
	2. **ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR IN THE MANNER PRESCRIBED IN THE BID DOCUMENT.**
	3. THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.
	4. **THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7).**
 |
| 1. **TAX COMPLIANCE REQUIREMENTS**
 |
| 1. BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS.
2. BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS.
3. APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE [WWW.SARS.GOV.ZA](http://www.sars.gov.za).
4. BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID.
5. IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER.
6. WHERE NO TCS PIN IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.
7. NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”
 |

**NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID**.

SIGNATURE OF BIDDER: ……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED: ……………………………………………

(Proof of authority must be submitted e.g. company resolution)

DATE: …………………………………………...

1. **PROTECTION OF PERSONAL INFORMATION**
	1. The Service Provider shall ensure that its employees, representatives and officers, comply with the provisions of the Protection of Personal Information Act, 2013 (“**POPIA**”) and all other applicable data protection laws and, without limitation to the aforegoing, shall ensure the security and confidentiality of all Personal Information processed by that Party is in accordance with POPIA and all other applicable data protection laws.
	2. The Service Provider must only process personal information of the Company and third parties on behalf of the Company, with the Company’s knowledge or authorisation, treat such information which comes to their knowledge as confidential and must not disclose it unless required by law or in the course of the proper performance of the Service Provider’s duties. The Service Provider must comply with the responsible party’s obligations in clause section 19 of POPIA.
	3. Where the Service Provider, its agents, subcontractors, officers, directors, shareholders, representatives, or employees has/have access to any Personal Information held by the Company for any reason in connection with this Agreement or is/are supplied with or otherwise provided with Personal Information by the Company or on behalf of the Company for any purpose, or are supplied with or otherwise provided with Personal Information relating to the Services, the Service Provider shall:
		1. process such Personal Information only for purposes of performing its/their obligations under this Agreement and shall not otherwise modify, amend or alter the contents of such Personal Information or disclose or permit the disclosure of such Personal Information to any third party, unless specifically authorised to do so by the Company or as required by law or any regulatory authority, and shall take all such steps as may be necessary to protect and safeguard such Personal Information;
		2. without prejudice to the generality of the foregoing, ensure that appropriate, reasonable technical and organisational measures shall be taken by it/them to prevent –
			1. the unauthorised or unlawful processing of such Personal Information; and
			2. the accidental loss or destruction of, or damage to, such Personal Information; and
			3. promptly notify the Company when it becomes aware of any unauthorised, unlawful or dishonest conduct or activities, or any breach of the terms of this Agreement relating to Personal Information.
	4. The Service Provider shall be liable for all claims, demands, actions, costs, expenses (including but not limited to reasonable legal costs and disbursements), fines, losses and damages arising from or incurred by reason of any wrongful processing of any Personal Information by the Service Provider (including its agents, subcontractors, officers, representatives or employees) for any breach of its obligations or warranties in terms of clause 14.9
	5. Both Parties will comply with their obligations under POPIA in relation to personal information for which they are the responsible party.
	6. The Service Provider must notify the Company immediately where there are reasonable grounds to believe that personal information has been accessed or acquired by any unauthorised person (Data Breach) and must assist the Company, at its own cost: a) with any investigation or notice to the Regulator or data subjects that the Company may make in relation to a Data Breach; and b) in responding to any directions by the Regulator to publicise the Data Breach, including assisting the Company to make public announcements if required.
	7. The Service Provider indemnifies the Company against any civil or criminal action or administrative fine or other penalty or loss as a result of the Service Provider’s breach of this clause.
2. **POPIA CONSENT**
	1. The Service Provider, by submitting its proposal/ quotation, consents to the use of his/her personal information contained therein and confirms that:
		1. The information is voluntarily supplied, without undue influence from any party; and
		2. The information is necessary for the purposes of the engagement with ATNS.
	2. The tenderer acknowledges that he /she is aware of his/her right to:
		1. Access the information at any reasonable time for the purposes of rectification thereof;
		2. Object to the processing of the information;
		3. Lodge a compliant with the Information Regulator.

**SBD 4**

**BIDDER’S DISCLOSURE**

1. **PURPOSE OF THE FORM**

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

1. **Bidder’s declaration**

2.1 Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest[[1]](#footnote-1) in the enterprise,

 employed by the state? **YES/NO**

2.1.1 If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

|  |  |  |
| --- | --- | --- |
| **Full Name** | **Identity Number** | **Name of State institution** |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

2.2

Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? **YES/NO**

2.2.1 If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract? **YES/NO**

* + 1. If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

1. **DECLARATION**

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 I have read and I understand the contents of this disclosure;

3.2 I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium[[2]](#footnote-2) will not be construed as collusive bidding.

3.4In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4 The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

* 1. I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

……………………………… ..……………………………………………

 Signature Date

……………………………… ………………………………………………

 Position Name of bidder

1. the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise. [↑](#footnote-ref-1)
2. Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract. [↑](#footnote-ref-2)