AIR TRAFFIC AND NAVIGATION SERVICES SOC. LTD

ANNEXURE A:	SCOPE OF WORK

December 2022

The information contained within this document is confidential to ATNS in all respects and it is hereby acknowledged that the information as provided shall only be used for the preparation of a response to this document.  The information furnished will not be used for any other purpose than stated and that the information will not directly or indirectly, by agent, employee or representative, be disclosed either in whole or in part, to any other third party without the express written consent by the Company or its representative.

Table of contents

1	GENERAL	3

4	INTRUDER ALARM	3

5	CCTV	3

6	INTERCOM	3

7	ACCESSS CONTROL	3

8	PERIMETER INTRUSION DETECTION	4

9	SYSTEMS CONTROL	4

10	NETWORK	4

11	REMOTE / OFFSITE MONITORING	5

12	INTEGRATED SECURITY MANAGEMENT SOFTWARE	5

13	PERIMETER FENCE	5

14	ELECTRIC FENCE	5

15	ELECTRICAL	5

16	EARTHING	5

17	SURGE PROTECTION	6

18	MAINTENANCE	6

19	SYSTEMS INTEGRATION	6

20	UPSs	6

25	CIVILS	7

# GENERAL

## The project involves the installation / construction of various security systems at the Delmas HF Transmitter Site.

# INTRUDER ALARM

## Control Panels

## Expander modules

## Outdoor Dual Technology Detectors

## Indoor Dual Technology Detectors

## Seismic Detectors

## Fixed Word LCD Keypads

## Sirens

## Transformers

## Door Contacts

## Transmitter

## Cabling

# CCTV

## Box cameras

## PTZ cameras

## License plate capture cameras

## Dome cameras

## Lenses

## Video management software

## Server / Network video recorders

## Housings

## Brackets

## Cabling

## Illuminators

## Workstations

## Rotakin testing

## Concrete poles

# INTERCOM

## One Button IP66 Intercom Station

## Gooseneck, Rainshield

## Desktop Master Station

## Audio Server

## Cabling

# ACCESSS CONTROL

## Indoor Fingerprint readers

## Webcam

## Electromagnetic Locks

## Break Glass Units

## Override Key Switches

## Heavy duty door closers

## Multi-function Single door controllers

## Master / System Controllers

## Software

## Cabling

# PERIMETER INTRUSION DETECTION

## 2 Wire Sensors

## Linkbus Ethernet Bridges

## System controllers

## Linkbus PSU Interfaces

## Linkbus PSUs

## Power and Data Communication provider to all 2 Wire sensors

## Cabling

## Dual Fence Processor Units

## End of Line Termination Kits

## Sensor Cables

# SYSTEMS CONTROL

## Control Room Workstations

## 24-inch High Performance HD LED Monitors

## 22-inch High Performance HD LED Monitors

## 2 X 2 Video wall Servers

## 3 X 3 Video wall Servers

## Video Wall Stand (2 x 2) screen array

# NETWORK

## Head-end switches

## Core switches

## Field switches

## KVM extenders

## Optic fibre cables

## Transceivers

## Kiosks

## Racks

## Enclosures

## Sleeves

# REMOTE / OFFSITE MONITORING

## Routers

## Antennas

## Gateway equipment

# INTEGRATED SECURITY MANAGEMENT SOFTWARE

# PERIMETER FENCE

## Fence Posts

## Cover Plates

## Top Rails

## Bottom Rails

## Mesh Panels

## Accessories (Bolts, shear off nuts, washers, neoprene strips, etc)

## Gates

## Gate motors

## Gate beams

## Plinth

## Hollow-core slabs

## Removal of existing fences

## Repair damaged fence mesh panels

## Replace damaged fence mesh panels

## Replace rusting mesh pieces buried under grounds

# ELECTRIC FENCE

## Energizers

## Brackets

## Wires

## Cabling

## Keypads

## Replace cut electric fence wires on existing fence

# ELECTRICAL

## Luminaires

## Steel poles

## Conduits

## Trunking

## Power supplies

# EARTHING

## Earth-termination Rods

## Cadwelds

## Earth ring

# SURGE PROTECTION

## Lightning Protection - Class 1

## Surge Suppression - Class 2

# MAINTENANCE

## Maintenance during the guarantee / warrantee period

## Maintenance after the guarantee / warrantee period

# SYSTEMS INTEGRATION

## Integration of CCTV into Access Control System

## Integration of CCTV into Alarm System

## Integration of CCTV into Perimeter Intrusion System

## Integration of Intrusion Detection into Perimeter Lights

## Integration of Fire Detection into Air Conditioning

## Integration of Fire Detection into Fire Suppression

# UPSs

## Install new UPS units

## Supply batteries for existing UPS units

# CIVILS

## Trenching

## Retaining walls

## sleeves