ANNEXURE D:	BILL OF QUANTITIES

December 2022

The information contained within this document is confidential to ATNS in all respects and it is hereby acknowledged that the information as provided shall only be used for the preparation of a response to this document.  The information furnished will not be used for any other purpose than stated and that the information will not directly or indirectly, by agent, employee or representative, be disclosed either in whole or in part, to any other third party without the express written consent by the Company or its representative.

Table of contents

1	GENERAL	3

2	TOTAL SUMMARY OF DELMAS HF TRANSMITTER SITE	4

3	DELMAS HF TRANSMITTER SITE	5

# GENERAL

The tenderers must complete the Bill of Quantities and detail unit rates and total amount for each item. All rates and prices exclude VAT.

NOTE:

Tenderers are advised to check their item extensions and total additions as arithmetical errors occurring in the priced Bills of Quantities cannot be considered as having an effect on the tender amount.

No alteration, erasure or addition is to be made in the text of the Bills of Quantities. Should any alteration, erasure or addition be made it will not be recognized but the original wording of the Bills of Quantities will be adhered to.

The Employer will check the completed Bills of Quantities and reserves the right to adjust any individual price and to rectify and discrepancy whilst the total tender price as quoted remains unaltered.

The quantities given in the Bills for video cables, power cables, cable markers, and data cables cannot be regarded as exact and are subject to measurement on site after completion of the installation and adjustments will be made according to the unit rates given in the Bills.

The quantities given in the Bill of Quantities are estimates only, and subject to re-measuring during the execution of the work. The Contractor shall obtain the Engineer’s detailed instructions for all work before ordering any materials or executing work or making arrangements for it.

The Works as finally completed in accordance with the Contract shall be measured and paid for as specified in the Bill of Quantities and in accordance with the General and Special Conditions of Contract, the Specifications and Project Specifications and the Drawings. Unless otherwise stated, items are measured net in accordance with the Drawings, and no allowance has been made for waste.

The validity of the contract will in no way be affected by differences between the quantities in the Bill of Quantities and the quantities finally certified for payment.

# TOTAL SUMMARY OF DELMAS HF TRANSMITTER SITE

| ATNS |
| --- |
| ITEM | DESCRIPTION | AMOUNT (INCL. VAT) |
| 1 | PRELIMINARIES AND GENERALS |  |
| 2 | CCTV SYSTEM - IP |  |
| 3 | ACCESS CONTROL SYSTEM |  |
| 4 | BUILDING ALARM SYSTEM |  |
| 5 | ELECTRICAL |  |
| 6 | PERIMETER INTRUDER DETECTION |  |
| 7 | NETWORK |  |
| 8 | SYSTEMS INTEGRATION |  |
| 9 | INTEGRATED SECURITY MAMAGEMENT SOFTWARE |  |
| 10 | REMOTE MONITORING |  |
| 11 | PROVISIONAL SUMS |  |
| 12 | MISCELLANEOUS |  |
| 13 | MAINTENANCE |  |
| 14 | IP INTERCOM SYSTEM |  |
| 15 | PERIMETER FENCE CIVILS |  |
| TOTAL INCLUDING VAT (15%) |  |

# DELMAS HF TRANSMITTER SITE

| 1. PRELIMINARIES AND GENERALS |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| 1 | General Allow for complying with all special preliminary and general conditions and contract and labour requirements, for site establishment and providing a site office | Sum | 1 |  |  |
| 2 | Permits and notices Allow for coordination with other contractors | Sum | 1 |  |  |
| 3 | Storage Provide for storage of plant, materials and equipment on site including protection thereof | Sum | 1 |  |  |
| 4 | Climatic conditions Allow for expenses which may occur due to rain or other climatic conditions. | Sum | 1 |  |  |
| 5 | Transport | Sum | 1 |  |  |
|  | Transport of material shall include delivery costs |  |  |  |  |
| 6 | Time related | Sum | 1 |  |  |
| 7 | Fixed | Sum | 1 |  |  |
| Total amount carried forward to summary page |  |

| 2. CCTV SYSTEM - IP |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  | All equipment as specified, complete with brackets, fitting screws, mounting bases and accessories to complete the installation. |  |  |  |  |
| 1 | 1/2.8" Day/Night HD 2 Mega Pixels IP vari-Focal box cameras with PoE (Wide dynamic range) |  |  |  |  |
|  | (a) Supply | ea | 62 |  |  |
|  | (b) Install | ea | 62 |  |  |
| 2 | 3.8-13mm , C Mount 2 Mega Pixels Lenses Day / Night Corrected (No Focus Shift) |  |  |  |  |
|  | (a) Supply | ea | 6 |  |  |
|  | (b) Install | ea | 6 |  |  |
| 3 | 5-55mm , CS Mount 2 Mega Pixels Lenses Day / Night Corrected (No Focus Shift) |  |  |  |  |
|  | (a) Supply | ea | 56 |  |  |
|  | (b) Install | ea | 56 |  |  |
| 4 | Outdoor Wall Mount brackets for Box cameras |  |  |  |  |
|  | (a) Supply | ea | 62 |  |  |
|  | (b) Install | ea | 62 |  |  |
| 5 | Outdoor CABLE MANAGED HOUSING with sunshield, IP66 for Box cameras |  |  |  |  |
|  | (a) Supply | ea | 62 |  |  |
|  | (b) Install | ea | 62 |  |  |
| 6 | 3-13 mm, Day/Night HD 2 Mega Pixels IP vari-Focal Outdoor IR Dome camera with PoE |  |  |  |  |
|  | (a) Supply | ea | 3 |  |  |
|  | (b) Install | ea | 3 |  |  |
| 7 | IP License Plate Camera (3.8m to 28m range) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 8 | 12Vdc/24Vac Power Supply units |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 9 | Outdoor Day/Night 2 Mega Pixels IR IP PTZ camera |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 10 | PTZ Joystick controller |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 11 | RJ45 connectors including boots |  |  |  |  |
|  | (a) Supply | ea | 200 |  |  |
|  | (b) Install | ea | 200 |  |  |
| 14 | CAT6 Cable |  |  |  |  |
|  | (a) Supply | m | 3000 |  |  |
|  | (b) Install | m | 3000 |  |  |
| 15 | CCTV Warning Signs |  |  |  |  |
|  | (A4 Sized - Yellow Colour - Reflective Coating - Unbranded) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 16 | Control Room Workstation PCs |  |  |  |  |
|  | (Including a 24” LED Monitor, mouse and keyboard) with dual graphics cards. |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 17 | 22-inch High Performance HD LED Monitors |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 18 | Desktop vertical pole dual monitor brackets for 24" LED Flat Screens |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 19 | Sever / NVR |  |  |  |  |
|  | (64TB capable of recording 128 channels, 32 pre-licensed) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 20 | Video Management Software and Map edition | Sum | 1 |  |  |
| 21 | Recording License (Software) | ea | 67 |  |  |
| 22 | License plate software | ea | 1 |  |  |
| 23 | Graphoplast labeling and sundries | Sum | 1 |  |  |
| 24 | System Configuration and Testing | ea | 67 |  |  |
|  | (Objective performance tests after commissioning to be carried out as per SANS 10222-5-1-4. Tests using Rotakin test target to be performed on all the installed cameras - day & night) |  |  |  |  |
| 25 | IR ILLUMINATOR |  |  |  |  |
|  | (a) Supply | ea | 5 |  |  |
|  | (b) Install | ea | 5 |  |  |
| 26 | KVM EXTENDERS (TRANSMITTER - RECEIVER PAIRS) |  |  |  |  |
|  | (With Audio Jacks, 2 x USB and 2 x VGA ports) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 27 | LPR camera stands powder-coated white (1500mm height) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| Total amount carried forward to summary page |  |

| 3. ACCESS CONTROL SYSTEM |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  | All equipment as specified, complete with brackets, fitting screws, mounting bases and accessories to complete the installation. |  |  |  |  |
| 1 | Indoor Fingerprint readers (500 Users) |  |  |  |  |
|  | (a) Supply | ea | 5 |  |  |
|  | (b) Install | ea | 5 |  |  |
| 2 | Outdoor Fingerprint readers |  |  |  |  |
|  | (a) Supply | ea | 5 |  |  |
|  | (b) Install | ea | 5 |  |  |
| 3 | Fingerprint Processing Unit – Take-Ons |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 4 | Verification Dongle |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 5 | Webcam |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 6 | Door Position Switch - Flush Mount |  |  |  |  |
|  | (a) Supply | ea | 17 |  |  |
|  | (b) Install | ea | 17 |  |  |
| 7 | Electromagnetic Locks |  |  |  |  |
|  | (a) Supply | ea | 7 |  |  |
|  | (b) Install | ea | 7 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 8 | Break Glass Units |  |  |  |  |
|  | (Supplied with resettable lenses and front covers) |  |  |  |  |
|  | (a) Supply | ea | 5 |  |  |
|  | (b) Install | ea | 5 |  |  |
| 9 | Override Key Switches |  |  |  |  |
|  | (a) Supply | ea | 5 |  |  |
|  | (b) Install | ea | 5 |  |  |
| 10 | Heavy duty door closers |  |  |  |  |
|  | (a) Supply | ea | 17 |  |  |
|  | (b) Install | ea | 17 |  |  |
| 11 | Multi-function Single door Controllers |  |  |  |  |
|  | (Supplied with back up batteries) |  |  |  |  |
|  | (a) Supply | ea | 5 |  |  |
|  | (b) Install | ea | 5 |  |  |
| 12 | Master / System Controllers |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 13 | RJ45 connectors |  |  |  |  |
|  | (a) Supply | ea | 100 |  |  |
|  | (b) Install | ea | 100 |  |  |
| 14 | CAT6 Cable |  |  |  |  |
|  | (a) Supply | m | 200 |  |  |
|  | (b) Install | m | 200 |  |  |
| 15 | Mylar cable 0.25mm2 x 8 core |  |  |  |  |
|  | (a) Supply | m | 50 |  |  |
|  | (b) Install | m | 50 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 16 | Operator Workstation PCs |  |  |  |  |
|  | (Including a 24” LED Monitor, mouse and keyboard) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 17 | Software for hardware capable of controlling all Access Controlled Doors and monitor door positions | Sum | 1 |  |  |
| 18 | System Configuration and Testing | Sum | 1 |  |  |
| 19 | Roller Shutter Door Mag Switch, with Armoured Cable |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 20 | 2.5mm2 x 3 core Cabtyre fire retardant multi-strand cable |  |  |  |  |
|  | (a) Supply | m | 100 |  |  |
|  | (b) Install | m | 100 |  |  |
|  | Total amount carried forward to summary page |  |

| 4. BUILDING ALARM SYSTEM |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  | All equipment as specified, complete with brackets, fitting screws, mounting bases and accessories to complete the installation. |  |  |  |  |
| 1 | 8 - Zone Control Panel Expandable to 40 zones |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 2 | 8 zone wired bus expander module |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 3 | Dual Technology Detectors |  |  |  |  |
|  | (Ceiling Mount Detectors with 360° view) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 4 | Dual Technology Detectors |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 5 | Outdoor Dual Technology Detectors |  |  |  |  |
|  | (a) Supply | ea | 4 |  |  |
|  | (b) Install | ea | 4 |  |  |
| 6 | VHF Transmitter |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 8 | 12V 9Ah Back-up Battery |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 9 | Fixed Word LCD Keypad |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 10 | Wireless Receiver |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 10 | Three-button Wireless Keys |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 11 | VHF SLIM WHIP ANTENNA |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 12 | 15Watt , 12V Siren |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 13 | Cable Solid White 6 Core |  |  |  |  |
|  | (a) Supply | m | 50 |  |  |
|  | (b) Install | m | 50 |  |  |
| 14 | Cable Solid White 2 Core |  |  |  |  |
|  | (a) Supply | m | 20 |  |  |
|  | (b) Install | m | 20 |  |  |
| 15 | 18VAC Transformer |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 16 | Door Contacts |  |  |  |  |
|  | (a) Supply | ea | 10 |  |  |
|  | (b) Install | ea | 10 |  |  |
| 17 | System Configuration and Testing | Sum | 1 |  |  |
|  | Total amount carried forward to summary page |  |

| 5. ELECTRICAL |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | Ø20mm galvanized conduit inclusive of all suspension brackets, bolts, screws, nuts, round boxes, end boxes and suspension material to make the installation complete |  |  |  |  |
|  | (a) Supply | m | 50 |  |  |
|  | (b) Install | m | 50 |  |  |
| 2 | Ø20mm galvanized flexible conduits |  |  |  |  |
|  | (a) Supply | m | 20 |  |  |
|  | (b) Install | m | 20 |  |  |
| 3 | P8100 trunking inclusive of all suspension brackets, bolts, screws, nuts, bends, T-pieces, joints, covers and suspension material to make the installation complete |  |  |  |  |
|  | (a) Supply | m | 50 |  |  |
|  | (b) Install | m | 50 |  |  |
| 4 | 50mm diameter sleeve |  |  |  |  |
|  | (a) Supply | m | 2200 |  |  |
|  | (a) Install | m | 2200 |  |  |
| 5 | Stakbox |  |  |  |  |
|  | 2 x 2 way with tilting galvanized lockable lid |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (a) Install | ea | 12 |  |  |
| 6 | Excavations and backfilling of trenches for sleeves (300mm wide x 600mm deep) | m³ | 400 |  |  |
| 7 | Compact earth to 90% Mod AASHTO density and dispose of surplus material - 300 x 600mm | m³ | 400 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 8 | 10kVA (1Ø in 1Ø out) online UPS in a tower casing with 45minutes of (Full Load) battery backup |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 9 | 2 x 26Watt CFL Luminaires |  |  |  |  |
|  | (a) Supply | ea | 156 |  |  |
|  | (b) Install | ea | 156 |  |  |
| 10 | Class 1 Lightning Protection in Main DBs |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 11 | Class 2 Lightning Surge Protection in Sub DBs |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 12 | DR-60-12 Mean Well 60 Watt Single Output DIN Rail Switching PSU |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 13 | Earthing trench using 70 mm² BCC |  |  |  |  |
|  | (a) Supply | m | 3000 |  |  |
|  | (b) Install | m | 3000 |  |  |
| 14 | 6mm² 3-core NORSK cable |  |  |  |  |
|  | (a) Supply | m | 150 |  |  |
|  | (b) Install | m | 150 |  |  |
| 15 | 4mm² 3-core NORSK cable |  |  |  |  |
|  | (a) Supply | m | 3000 |  |  |
|  | (b) Install | m | 3000 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 16 | An Earthing connection from every 3rd Fence Post to a 1.2 m x 14.5 mm earth rod using 70 mm² BCC. All connections shall be CAD welded |  |  |  |  |
|  | (a) Supply | ea | 310 |  |  |
|  | (b) Install | ea | 310 |  |  |
| 17 | 500 mm finial to each camera pole connect the finial to a 1.2 m X 14.5 mm earth rod using 70 mm² BCC. |  |  |  |  |
|  | (a) Supply | ea | 57 |  |  |
|  | (b) Install | ea | 57 |  |  |
| 18 | Cadweld bonding. |  |  |  |  |
|  | (a) Supply | ea | 500 |  |  |
|  | (b) Install | ea | 500 |  |  |
| 19 | Steel Poles for 3,5m mounting height, suitably fitted for mounting of the luminaires with buried base plate, gland plate, 1 x 5A MCB and Class 1 lightning protection with door cover. Full provision for the specified three phase cable to be looped through on connector blocks |  |  |  |  |
|  | (a) Supply | ea | 156 |  |  |
|  | (b) Install | ea | 156 |  |  |
| 20 | Concrete Poles for 3m mounting height, suitably fitted for mounting of the cameras with full provision for cable management |  |  |  |  |
|  | (a) Supply | ea | 57 |  |  |
|  | (b) Install | ea | 57 |  |  |
|  | Total amount carried forward to summary page |  |

| 6. PERIMETER INTRUDER DETECTION |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
|  | All equipment as specified, complete with brackets, fitting screws, mounting bases and accessories to complete the installation. |  |  |  |  |
|  | Kinematics Detection System |  |  |  |  |
| 1 | Linkbus – Device Link Bridge |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 2 | Linkbus – Controller |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 3 | Linkbus – Ethernet Bridge |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 4 | Linkbus - PSU Interface |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 5 | Linkbus - Power Supply Unit |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 6 | Kinematics Sensor Devices - |  |  |  |  |
|  | (a) Supply | ea | 460 |  |  |
|  | (b) Install | ea | 460 |  |  |
| 7 | Communication cable UV resistant duct type |  |  |  |  |
|  | (a) Supply | m | 4400 |  |  |
|  | (b) Install | m | 4400 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 8 | I/O expansion - 2I/2O |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 9 | Flat surface mounting brackets for Sensor Devices |  |  |  |  |
|  | (a) Supply | ea | 460 |  |  |
|  | (b) Install | ea | 460 |  |  |
| 10 | Markers and/or Name plates | Sum | 1 |  |  |
| 11 | System Configuration and Testing | Sum | 1 |  |  |
|  | Total amount carried forward to summary page |  |

| 7. NETWORK |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
|  | All equipment as specified, complete with brackets, fitting screws, mounting bases and accessories to complete the installation. |  |  |  |  |
| 1 | 4 Core Multimode Optic Fibre Cable |  |  |  |  |
|  | (a) Supply | m | 4400 |  |  |
|  | (b) Install | m | 4400 |  |  |
| 2 | Multimode Fibre SFP Gigabit Adapter Kits |  |  |  |  |
|  | (a) Supply | ea | 24 |  |  |
|  | (b) Install | ea | 24 |  |  |
| 3 | Layer 3 24 Ethernet 10/100/1000 ports, 2x SFP+ Ports, 2x GbE Combo Ports Core Switch |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 4 | L3 Gigabit Fibre switch with 24 Gigabit SFP slots and 2 combo ports (RJ45/SFP) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 5 | Smart Managed 24 Port 10/100/1000 with PoE + 2 Combo 1000BASE-T Field Switch |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 6 | Industrial 10-Port Managed PoE Ethernet Switch with 8* 10/100TX 802.3af PoE + 2*Gigabit combo SFP port |  |  |  |  |
|  | (a) Supply | ea | 6 |  |  |
|  | (b) Install | ea | 6 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 7 | BRUSH PANELs |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 8 | CAT6 PATCH PANELs |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 9 | MULTI- PORT FIBRE PATCH PANELs |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 10 | FIBRE SPLICE BOXes |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 11 | 2m ST-ST Fibre Optic Patch Leads |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 12 | ST Fibre Optic Tails |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 13 | Fibre Optic Midcouplers |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
| 14 | 42U 19" Floor Standing Racks (1000mm deep) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 15 | 450mm Deep 19" Shelf including all fixing materials |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| Subtotal Carried To The Next Page |  |

| Subtotal From The Previous Page |  |
| --- | --- |
| 16 | 1U 19" Blank Panel including all fixing material |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 17 | 2U 19" Blank Panel including all fixing material |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 18 | 3U 19" Blank Panel including all fixing material |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 19 | 19" Rack Cable Routing Rings including all fixing materials |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 20 | Fibre Splicing | ea | 12 |  |  |
| 21 | Fibre Testing | ea | 12 |  |  |
| 22 | System Configuration and Testing | Sum | 1 |  |  |
|  | (OTDR Testing & Test Reports With an EXFO FTB ‐200 & FIS Multi Mode & Single Mode OTDRs, Pre Fibre Cable Installation Testing, Post Fibre Cable Installation Testing, Final Site Testing and Multi Mode Fusion Splicing.) |  |  |  |  |
| 23 | Field Kiosks (To be installed on a concrete plinth) |  |  |  |  |
|  | (1000 x 800 x 300mm kiosk with tamperproof doors, isolation transformer, power supplies, surge protection and DB.) |  |  |  |  |
|  | (a) Supply | ea | 12 |  |  |
|  | (b) Install | ea | 12 |  |  |
|  | Total amount carried forward to summary page |  |

| 8. SYSTEMS INTEGRATION |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | Integration of CCTV into Access Control System | Sum | 1 |  |  |
| 2 | Integration of CCTV into Alarm System | Sum | 1 |  |  |
| 3 | Integration of CCTV into Perimeter Intrusion System | Sum | 1 |  |  |
| 4 | Integration of Intrusion Detection into Perimeter Lights | Sum | 1 |  |  |
| 5 | Integration of CCTV into Intercom System | Sum | 1 |  |  |
| 6 | Integration of CCTV into Electric Fence System | Sum | 1 |  |  |
|  | Total amount carried forward to summary page |  |

| 9.INTEGRATED SECURITY MAMAGEMENT SOFTWARE |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | Security Management Software (SMS) |  |  |  |  |
|  | For the integration of all the security sub-systems under one security management platform with a once-off license fee |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 2 | Server |  |  |  |  |
|  | (Maximum internal storage up to 16TB) |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
|  | Total amount carried forward to summary page |  |

| 10.REMOTE MONITORING |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | Router x 2 WAN ports (Load balancer Cisco) |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 2 | Router mr200 tp-link LTE |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 3 | Pointing Antenna |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 4 | 1.2m Dish, BUC, LNB, Modem |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 5 | GSM Connectivity (Internet Service Provider) | Month | 12 |  |  |
| 6 | Satellite Connectivity (Secondary Wireless Connectivity) | Month | 12 |  |  |
| 7 | ADSL Connectivity (1024 MB Line) | Month | 12 |  |  |
| 9 | Configurable Hardware Firewall | Sum | 1 |  |  |
| 10 | System Configuration and Testing | Sum | 1 |  |  |
|  | Total amount carried forward to summary page |  |

| 11.PROVISIONAL SUMS |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | Architectural | Sum | 1 | R 50 000,00 | R 50 000,00 |
| 2 | Surveyed as built drawings for the entire site including all buildings, services and fences | Sum | 1 | R 100 000,00 | R 100 000,00 |
| 3 | Electronic Location of existing services | Sum | 1 | R 20 000,00 | R 20 000,00 |
| 4 | Adjust existing swing doors to accommodate maglocks | ea | 4 | R 5 000,00 | R 20 000,00 |
| 5 | Service existing 100kVA diesel generators | ea | 2 | R 50 000,00 | R 100 000,00 |
|  | including fuel |  |  |  |  |
|  | Total amount carried forward to summary page | R 290 000,00 |

| 12. MISCELLENEOUS |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| 1 | Training of Client’s staff | ea | 2 |  |  |
| 2 | 3 x Full sets of operating and maintenance manuals | Sum | 1 |  |  |
| 3 | 3 x sets of As built drawings | Sum | 1 |  |  |
|  | (Drawings to show the exact positions of cables, equipment, e.t.c.to be issued in Hard copies and CDs) |  |  |  |  |
| 4 | Spares (Supply of 10% of spares for the entire installation (Supplied and stored in the Client’s storage facility) | Sum | 1 |  |  |
| 5 | Control Room Security Console (Sufficient space for two (2) personnel positions) | ea | 1 |  |  |
| 6 | Ergonomic Midback Mesh Chair | ea | 2 |  |  |
|  | Total amount carried forward to summary page |  |

| 13.MAINTENANCE |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| 1 | Scheduled Preventative Maintenance for the entire Installation on a monthly basis during the guarantee / warrantee period. | Month | 12 |  |  |
| 2 | Callout and Emergency Maintenance for the entire Installation for the first 12 months coinciding with the guarantee / warrantee period and for 48 months after the guarantee period. | Month | 60 |  |  |
| 3 | Scheduled Preventative Maintenance for the entire Installation on a monthly basis after the guarantee / warrantee period. | Month | 48 |  |  |
|  | Total amount carried forward to summary page |  |

| 14. INTERCOM |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | IP One Button IP66 Intercom Station including back box |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 2 | Gooseneck, Rainshield with vandal proof bracket and base plate- Hot dip galvanised |  |  |  |  |
|  | (a) Supply | ea | 2 |  |  |
|  | (b) Install | ea | 2 |  |  |
| 3 | IP Desktop Master Station with Display & Handset |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 4 | Master Station License | ea | 1 |  |  |
| 5 | System Configuration and Testing | Sum | 1 |  |  |
|  | Total amount carried forward to summary page |  |

| 15. PERIMETER FENCE CIVILS |
| --- |
| ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL COST |
| 1 | Energizer For Existing Fence per Regulations |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 2 | Outdoor pad locks |  |  |  |  |
|  | (a) Supply | ea | 1 |  |  |
|  | (b) Install | ea | 1 |  |  |
| 3 | Supply and Installation of river sand for installation of earth ring | m3 | 135 |  |  |
| 4 | System Configuration and Testing | Sum | 1 |  |  |
|  | Total amount carried forward to summary page |  |