# TECHNICAL INFORMATION SCHEDULE

# Instruction to Bidders

# The bidder shall submit all remarks diagrams and drawings according to the technical information schedule document and in the English Language.

# INFORMATION TO BE SUPPLIED/PRESENTED IN THE TABLES BELOW SHALL BE SUPPORTED BY THE GENERATOR AND AUXILIARY ORIGINAL EQUIPMENT MANUFACTURER DATASHEET. FAILURE TO PROVIDE SUPPORTING TECHNICAL DATASHEET SHALL RENDER THE BID NON RESPONSIVE

# ALL REMARKS TO THE TECHNICAL INFORMATION SCHEDULE SHALL BE PROVIDED IN FULL AND IN THE SPACE PROVIDED.

# Remarks provided in the space allowed, that are not clear or inadequate or the lack there of will not be considered.

[A]. Fixed Generator

# ENGINE

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Manufacturer’s Name |  |
|  | Country of Origin |  |
|  | Manufacturer’s model No. and year of manufacture |  |
|  | Continuous sea level rating after allowing for ancillary equipment : a) In b.h.p. b) In kW |  |
|  | Percentage de-rating for site conditions a) For altitude b) For temperature c) For humidity d) Total de-rating |  |
|  | Net output on site in kW |  |
|  | Nominal speed in r.p.m. |  |
|  | Number of cylinders |  |
|  | Strokes per working cycle |  |
|  | Stroke in mm |  |
|  | Cylinder bore in mm |  |
|  | Swept volume in cm3 |  |
|  | Mean piston speed in m/min |  |
|  | Compression ratio |  |
|  | Cyclic irregularity |  |
|  | Fuel consumption of the complete generating set on site in l/h of alternator output at : a) Full load b) ¾ load c) ½ load NOTE : A tolerance of 5% shall be allowed above the stated value of fuel consumption. |  |
|  | Make of fuel injection system. |  |
|  | Capacity of fuel tank in litres |  |
|  | Is gauge glass fitted to tank? |  |
|  | Is electric pump for filling the fuel tank included? |  |
|  | Method of starting |  |
|  | Voltage of starting system |  |

|  | Method of cooling |  |
| --- | --- | --- |
|  | Type of radiator if water-cooled |  |
|  | Type of heater for warming cylinder heads |  |
|  | Capacity of heater in kW |  |
|  | Method of protection against high temperature |  |
|  | Method of protection against low oil pressure |  |
|  | Type of governor |  |
|  | Speed variation in % a. Temporary b. Permanent |  |
|  | Minimum time required for as assumption of full load in seconds |  |
|  | Recommended interval in running hours for : a. Lubricating oil change b. Oil filter element change c. Decarbonising |  |
|  | Type of base |  |
|  | Can plant be placed on solid concrete floor? |  |
|  | Are all accessories and ducts included? |  |
|  | Is engine naturally aspirated? |  |
|  | Are performance curves attached? |  |
|  | Diameter of exhaust pipe |  |
|  | Noise level in plant room in dBA | N/A |
|  | Noise level at tail of exhaust pipe in dBA |  |
|  | Design Life |  |

# ALTERNATOR

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Maker’s name and model no. |  |
|  | Country of Origin and year of manufacture |  |
|  | Type of enclosure |  |
|  | Nominal speed in r.p.m. |  |
|  | Number of bearings |  |
|  | Terminal voltage |  |
|  | Sea level rating kVA at 0,8 power factor |  |
|  | De-rating for site conditions |  |
|  | Input required in kW |  |
|  | Method of excitation |  |
|  | Efficiency at 0,8 power factor and : a) Full load b) ¾ load c) ½ load |  |
|  | Maximum permanent voltage variation in % |  |
|  | Transient voltage dip on full load |  |
|  | Voltage recovery on full load application in milli-seconds |  |
|  | Is alternator brushless? |  |
|  | Class of insulation of windings |  |
|  | Is alternator tropicalised? |  |
|  | Symmetrical short circuit current at terminals n Ampere |  |
|  | Type of Coupling |  |
|  | Design Life |  |

# CONTROL PANEL

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Maker’s Name |  |
|  | Country of Origin |  |
|  | Is board floor mounted? |  |
|  | Finish of board |  |
|  | Make of volt, amp, and frequency meters |  |
|  | Dial size of meters in mm |  |
|  | Scale range of voltmeter |  |
|  | Scale range of ammeters |  |
|  | Ration of current transformers |  |
|  | Make of hour meter |  |
|  | Range of cyclometer counter |  |
|  | Smallest unit shown on counter (Item 11) |  |
|  | Make of circuit breaker |  |
|  | Type of circuit breaker |  |
|  | Rating of circuit breaker in Amp and fault level in kA |  |
|  | Setting range of overload trips |  |
|  | Setting range of instantaneous trips |  |
|  | Make of change-over equipment |  |
|  | Make of voltage relay |  |
|  | Is control and protection equipment mounted on a small removable panel? |  |
|  | Type of control equipment |  |
|  | Make of mains isolator |  |
|  | Type of indicators for protective devices |  |
|  | Make of rectifier |  |
|  | Type of rectifier |  |
|  | Is battery charging |  |
|  | Are volt- and ammeters provided for charging circuit? |  |
|  | Is the alarm hooter of the continuous duty type? |  |
|  | Rating in Amps of : a. Change-over equipment b. Mains on load isolator c. By-pass switch d. Circuit breaker to outgoing feed |  |

# BATTERY

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Maker’s Name |  |
|  | Country of Origin |  |
|  | Type of battery |  |
|  | Voltage of battery |  |
|  | Number of cells |  |
|  | Capacity in cold crank amp |  |
|  | Is the battery Maintenance free |  |
|  | Design Life |  |

# DIMENSIONS

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Overall dimensions of set in mm |  |
|  | Overall mass |  |
|  | Is the generator room/container adequate for the installation of the set |  |
|  | Is the generator room/container sound attenuatted |  |
|  | Is the generator room/container weatherproof |  |

# DEVIATION FROM SPECIFICATION

| NO | DESCRIPTION |
| --- | --- |

[B]. Mobile Generator

# ENGINE

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Manufacturer’s Name |  |
|  | Country of Origin |  |
|  | Manufacturer’s model No. and year of manufacture |  |
|  | Continuous sea level rating after allowing for ancillary equipment : a) In b.h.p. b) In kW |  |
|  | Percentage de-rating for site conditions a) For altitude b) For temperature c) For humidity d) Total de-rating |  |
|  | Net output on site in kW |  |
|  | Nominal speed in r.p.m. |  |
|  | Number of cylinders |  |
|  | Strokes per working cycle |  |
|  | Stroke in mm |  |
|  | Cylinder bore in mm |  |
|  | Swept volume in cm3 |  |
|  | Mean piston speed in m/min |  |
|  | Compression ratio |  |
|  | Cyclic irregularity |  |
|  | Fuel consumption of the complete generating set on site in l/h of alternator output at : a) Full load b) ¾ load c) ½ load NOTE : A tolerance of 5% shall be allowed above the stated value of fuel consumption. |  |
|  | Make of fuel injection system. |  |
|  | Capacity of fuel tank in litres |  |
|  | Is gauge glass fitted to tank? |  |
|  | Is electric pump for filling the fuel tank included? |  |
|  | Method of starting |  |
|  | Voltage of starting system |  |

|  | Method of cooling |  |
| --- | --- | --- |
|  | Type of radiator if water-cooled |  |
|  | Type of heater for warming cylinder heads |  |
|  | Capacity of heater in kW |  |
|  | Method of protection against high temperature |  |
|  | Method of protection against low oil pressure |  |
|  | Type of governor |  |
|  | Speed variation in % a. Temporary b. Permanent |  |
|  | Minimum time required for as assumption of full load in seconds |  |
|  | Recommended interval in running hours for : a. Lubricating oil change b. Oil filter element change c. Decarbonising |  |
|  | Type of base |  |
|  | Can plant be placed on solid concrete floor? |  |
|  | Are all accessories and ducts included? |  |
|  | Is engine naturally aspirated? |  |
|  | Are performance curves attached? |  |
|  | Diameter of exhaust pipe |  |
|  | Noise level in plant room in dBA | N/A |
|  | Noise level at tail of exhaust pipe in dBA |  |
|  | Design Life |  |

# ALTERNATOR

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Maker’s name and model no. |  |
|  | Country of Origin and year of manufacture |  |
|  | Type of enclosure |  |
|  | Nominal speed in r.p.m. |  |
|  | Number of bearings |  |
|  | Terminal voltage |  |
|  | Sea level rating kVA at 0,8 power factor |  |
|  | De-rating for site conditions |  |
|  | Input required in kW |  |
|  | Method of excitation |  |
|  | Efficiency at 0,8 power factor and : a) Full load b) ¾ load c) ½ load |  |
|  | Maximum permanent voltage variation in % |  |
|  | Transient voltage dip on full load |  |
|  | Voltage recovery on full load application in milli-seconds |  |
|  | Is alternator brushless? |  |
|  | Class of insulation of windings |  |
|  | Is alternator tropicalised? |  |
|  | Symmetrical short circuit current at terminals n Ampere |  |
|  | Type of Coupling |  |
|  | Design Life |  |

# CONTROL PANEL

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Maker’s Name |  |
|  | Country of Origin |  |
|  | Is board floor mounted? |  |
|  | Finish of board |  |
|  | Make of volt, amp, and frequency meters |  |
|  | Dial size of meters in mm |  |
|  | Scale range of voltmeter |  |
|  | Scale range of ammeters |  |
|  | Ration of current transformers |  |
|  | Make of hour meter |  |
|  | Range of cyclometer counter |  |
|  | Smallest unit shown on counter (Item 11) |  |
|  | Make of circuit breaker |  |
|  | Type of circuit breaker |  |
|  | Rating of circuit breaker in Amp and fault level in kA |  |
|  | Setting range of overload trips |  |
|  | Setting range of instantaneous trips |  |
|  | Make of change-over equipment |  |
|  | Make of voltage relay |  |
|  | Is control and protection equipment mounted on a small removable panel? |  |
|  | Type of control equipment |  |
|  | Make of mains isolator |  |
|  | Type of indicators for protective devices |  |
|  | Make of rectifier |  |
|  | Type of rectifier |  |
|  | Is battery charging |  |
|  | Are volt- and ammeters provided for charging circuit? |  |
|  | Is the alarm hooter of the continuous duty type? |  |
|  | Rating in Amps of : a. Change-over equipment b. Mains on load isolator c. By-pass switch d. Circuit breaker to outgoing feed |  |

# BATTERY

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Maker’s Name |  |
|  | Country of Origin |  |
|  | Type of battery |  |
|  | Voltage of battery |  |
|  | Number of cells |  |
|  | Capacity in cold crank amp |  |
|  | Is the battery Maintenance free |  |
|  | Design Life |  |

# DIMENSIONS

| NO | ITEM | REMARKS |
| --- | --- | --- |
|  | Overall dimensions of set in mm |  |
|  | Overall mass |  |
|  | Is the generator room/container adequate for the installation of the set |  |
|  | Is the generator room/container sound attenuatted |  |
|  | Is the generator room/container weatherproof |  |

# DEVIATION FROM SPECIFICATION

| NO | DESCRIPTION |
| --- | --- |

END