**REFERENCE NO: ATNS/FACT/RFQ051/2022/23\_ACCESS\_CONTROL**

**APPOINTMENT OF AN EXPERIENCED SERVICE PROVIDER TO REMOVE EXISTING ACCESS CONTROL SYSTEM AND SUPPLY, INSTALL, TEST, AND COMMISSION NEW ACCESS CONTROL SYSTEM FOR ATNS - CAPE TOWN INTERNATIONAL AIRPORT.**

**QUESTIONS AND ANSWERS ARISING FROM THE COMPULSORY SITE BRIEFING HELD ON 22nd NOVEMBER 2022 AND EMAIL CLARITY SEEKING QUESTIONS RESPECTIVELY**

**Q: What Access Control software is currently being used?**

A: SAGEM MEMS 6.2

**Q: Do you have any system preference or can we quote you on any brand**

A: You are allowed to quote on any brand. however, the brand must meet the ATNS minimum requirements, as advertised.

**Q: How many employees will be using the access control systems?**

A: Approximately 300

**Q: Do you already have a visitor management system currently in place? if yes, what software are you using?**

A: Yes, we do on the current access control, SAGEM MEMS 6.2

**Q: Are you currently using a Time and Attendance software?**

A: No, we are not.

**Q: Regarding the front Gate Access control, how many readers will you need at the gate and is the pedestrian gate also needed to have access control on it?**

A: The front gate is not included in the tender

**Q: Do we replace the existing switch that links up to the current PC (server)?**

A: Yes

**Q: Do we quote for new Access control door controllers?**

A: New access control door closers, PSU’s, magnetic locks, server PC, Server software, automatic door closers, push buttons, sliding door sensors and cable installation where required.